## Ivor House
Ivor House
| SW2 Enterprise Centre |  |  |  |  | GIFA
3675
| Description | Quantity | Unit | Rate | Total
Site Preparation/Demolition
No allowance for underpinning façade made - Structural engineer to confirm
| Allowance for temporary steels external to building | 1 | item | 88800 | 88800
| Strip roof finishes and structure | 615 | m2 | 30 | 18450
| Removal of windows and temporary fill | 63 | nr | 350 | 22050
| Removal of shopfront glazing | 1 | item | 7500 | 7500
| Temporary steel shoring to internals of building | 1 | item | 59200 | 59200
| Cut existing concrete frame along existing columns / spandrel line | 296 | m | 300 | 88800
| Allowance for local strengthening along slab edges | 296 | m | 360 | 106560
| Demolition of concrete frame | 2921 | m2 | 70 | 204470
Substructure
| Allowance to breakthrough existing basement slab; say 20nr pads | 1 | item | 60000 | 60000
| Allowance to excavate and cast pad foundations for new frame; say 20nr pads | 1 | item | 60000 | 60000
| Excavation or new basement plant area | 678 | m3 | 25 | 16950
| Retaining walls to basement area | 165 | m2 | 350 | 57750
| Reinforced concrete slab to basement area | 226 | m2 | 80 | 18080
0
| Superstructure |  |  |  | 0
0
| Frame and Upper floors |  |  |  | 0
0
| Steel frame construction | 3675 | m2 | 140 | 514500
| Allowance for splicing beams to façade to provide lateral support to facade. | 296 | m2 | 50 | 14800
| Allowance for thermal break treatment to external walls | 296 | m2 | 50 | 14800
| Pre-cast planks with exposed soffits | 3675 | m2 | 80 | 294000
0
| Upper Floors. |  |  |  | 0
0
| incl in Frame |  |  |  | 0
0
| Roof |  |  |  | 0
0
| Allowance for roof structure (assumed mansard) | 798 | m2 | 125 | 99750
| New roof to café/meeting room area | 0 | m2 | 220 | 0
| Allowance for roof coverings | 798 | m2 | 85 | 67830
| Allowance for Green Roof | 1 | item | 40000 | 40000
0
| Stairs |  |  |  | 0
0
| Precast concrete reinforced staircase including mild steel balustrades; Stair risers and goings in heavy contract carpet tiles; 4 storeys | 3 | nr | 18000 | 54000
| Timber staircase including timber balustrades; Stair risers and goings in heavy contract carpet tiles; 1 storey | 6 | nr | 1400 | 8400
0
| External Walls |  |  |  | 0
0
| Glazed façade to café and meeting rooms | 0 | m2 | 450 | 0
| Panellised cladding to new build sections | 1122 | m2 | 260 | 291720
| Jetwash and repair to façade | 888 | m2 | 15 | 13320
| Allowance for secondary façade to existing façade | 888 | m2 | 120 | 106560
| Allowance for schedule of condition items - see separate sheet | 1 | item | 45000 | 45000
0
| Windows and External Doors |  |  |  | 0
0
| Double glazed windows; as per existing style | 63 | nr | 5400 | 340200
| Glazed single leaf entrance doors including electrically operated door opening for disabled access | 3 | nr | 1800 | 5400
| Glazed double leaf entrance doors, including electrically operated door opening for disabled access | 1 | nr | 4500 | 4500
0
| Internal Walls |  |  |  | 0
0
| Dense aggregate block partitions 140mm thick | 840 | m2 | 90 | 75600
| Metal stud and board partition 73mm partition; 48mm studs and channels; 1 layer of 12.5mm Gyproc wall board each side | 1735.2 | m2 | 95 | 164844
| No allowance made for internal walls or doors to open plan area |  |  |  | 0
0
| Internal Doors |  |  |  | 0
| Entrance door; IG Door; with spy hole only and no letter plate | 25 |  | 650 | 16250
| Single leaf; solid core flush doors with concealed lippings to all edges timber frame and architrave to match | 173 | nr | 300 | 51900
| Single leaf SBD solid core door finished In light oak veneer with concealed lippings to all edges | 9 |  | 400 | 3600 | ASSUMED
| Internal finishes |  |  |  | 0
0
| Wall Finishes |  |  |  | 0
0
| Vinyl matt emulsion paint to skimmed plasterboard | 8267 | m2 | 7 | 57869
| Extra over allowance for moisture resistant plasterboard | 1240.05 | m2 | 10 | 12400.5
| Wall tile 200 x 100 x 6.5mm; tiled in brick bond pattern | 373 | m2 | 45 | 16785
| Painting to basement walls |  | m2 | 6 | 0
Floor Finishes
| Floor screed and insulation | 2292 | m2 | 22 | 50424
| Boen 3-strip Walnut Adante 14mm engineered board with Protect Ultra finish on underlay | 1291 | m2 | 40 | 51640
| 80/20% wool mix carpet on underlay | 710 | m2 | 40 | 28400
| Floor tile 300 x 300 x 8.5mm tile | 291 | m2 | 35 | 10185
| Floor tile 300 x 300 x 9mm rocktop finish |  | m2 | 45 | 0
| Heavy contract carpet tiles |  | m2 | 30 | 0
| Skirting boards; 100mm MDF skirting; Dulux eggshell white | 3445 | m | 15 | 51675
0
| Ceiling Finishes |  |  |  | 0
0
| Plasterboard; to battens shot and fired to soffit | 2334 | m2 | 27 | 63018
| Vinyl matt emulsion to skimmed plasterboard | 2334 | m2 | 9 | 21006
| Spray to basement ceiling | 701 | m2 | 4 | 2804
0
| Fittings and furnishings |  |  |  | 0
| Kitchen units; semi gloss; with Bosch appliances and S/S Sink | 25 | nr | 5800 | 145000
| Vanity unit including; vanity shelf and cupboard | 48 | nr | 450 | 21600
| Allowance for bathroom accessories including heated towel rail, steel robe hooks and toilet roll holder and door stops | 48 | nr | 500 | 24000
| Allowance for directional signage | 1 | item | 5000 | 5000
| Cycle storage | 25 | nr | 200 | 5000
| Allowance for bins | 25 | nr | 150 | 3750
| Services |  |  |  | 0
0
| Sanitary appliances |  |  |  | 0
| 550 x 460mm semi recessed basin with one tap hole and overflow; inc single lever chrome monobloc basin mixer | 48 | nr | 350 | 16800
| WC with soft close seat and cover; hinges in stainless steel | 48 | nr | 250 | 12000
| Steel enamelled bath with bath filler/shower mixer | 25 | nr | 300 | 7500
| En suite shower including; tray, riser panel, enclosure, mixer and shower set | 23 | nr | 450 | 10350
0
0
| Services Equipment |  |  |  | 0
0
| Dishwasher | 0 | item | 5000 | 0
0
| Water Installations |  |  |  | 0
0
| Water installation complete; primary and secondary distribution | 3490 | m2 | 18 | 62820
| Water installation to kitchen | 1 | item | 3000 | 3000
0
| Disposal installation |  |  |  | 0
0
| Rainwater installation | 3675 | m2 | 5 | 18375
| Soil and waste installations | 3675 | m2 | 12 | 44100
0
| Heat source |  |  |  | 0
0
| CHP Plant Allowance | 1 | item | 180000 | 180000
0
| Space heating and ventilation installations |  |  |  | 0
0
| Underfloor Heating System Installation - perimeter trench Installation | 3675 | m2 | 38 | 139650
| Ventilation to plant room | 1 | item | 7500 | 7500
| Heat recovery air handling plant | 1 | item | 75000 | 75000
| Air conditioning installation | 3675 | m2 | 18 | 66150
| Allowance for heat pump chillers | 1 | item | 75000 | 75000
0
| Electrical installations |  |  |  | 0
0
| To include all lighting and power requirements; including distribution; fittings; sockets; earthing and bonding | 3675 | m2 | 105 | 385875
| Allowance for PV Panels | 1 | item | 100000 | 100000
0
0
| Lift installation |  |  |  | 0
| Lift; electric traction lift with centrally opening doors and; floor and automated audio indictor | 2 | nr | 60000 | 120000
0
| Protective installations |  |  |  | 0
0
| Allowance for AOVs, smoke alarms, fire alarms, emergency communication systems, fire telephones and disabled refuge alarm item, etc | 3675 | m2 | 15 | 55125
| Allowance for sprinkler system | 3675 | m2 | 15 | 55125
0
| Communication installations |  |  |  | 0
0
| Data/AV Installations | 1 | item | 30000 | 30000
| Installation of BMS system |  | m2 | 15 | 0
| CCTV recognition |  | item | 25000 | 0
| Intruder detection system |  | item | 14700 | 0
| Special installations |  |  |  | 0 | 1464370
0
| Builders work in connection | 3 | % | 1464370 | 43931.1
| Testing & Commissioning | 5 | % | 1508301.1 | 75415.055
| M&E Subcontract Preliminaries | 8 | % | 1583716.155 | 126697.2924
External Works
| Steelwork link bridges as structural “tubes” to maximise soffit heights (ie sides of bridge are structural to reduce depth of structure below). | 57 | m | 6000 | 342000
| Preliminaries |  |  |  | 0
0
| @ | 22 | % | 5658553.9474 | 1244881.8684
0
| Allowance for Design Fees |  |  |  | 0
0
| @ | 9.575 | % | 6903435.8158 | 661003.9794
0
| Overheads & Profit |  |  |  | 0
0
| @ | 7 | % | 7564439.7952 | 529510.7857
0
0
0
|  |  |  | Sub-Total | 8093950.5809
|  |  |  | Add contingency of 15% | 1214092.5871
|  |  |  | Sub-Total | 9308043.168 |  | #REF!
|  |  |  | Add allowance for infation of 23.6% (Based on BCIS) - excl | 0
|  |  |  | Total | 9308043.168
Assumptions
1
2
3
4
5
6
7
8
9
10