## New Office
| New Office |  |  |  |  | GIFA
| SW2 Enterprise Centre |  |  |  |  | 8447
| Description | Quantity | Unit | Rate | Total
Site Preparation
| Demolition and clearance of existing buildings on site | 5100 | m3 | 40 | 204000
0
| Substructure |  |  |  | 0
| Allowance for Piled foundations | 1910 | m2 | 295 | 563450 |  |  | As schedule
| Reinforced concrete ground slab | 1910 | m2 | 60 | 114600 |  |  | As schedule
| Excavation and disposal to basement area | 1639.9558 | m3 | 30 | 49198.6726 |  |  | Pro rata
| Basement Retaining Walls; tanked | 240.6883 | m2 | 360 | 86647.7733 |  |  | Pro rata
| Basement Structural Walls | 51.4575 | m2 | 255 | 13121.6599 |  |  | Pro rata
| Basement Slab - reinforced concrete | 410 | m2 | 80 | 32800 |  |  | As schedule
| Superstructure |  |  |  | 0
0
| Frame |  |  |  | 0
| Reinforced Concrete Core | 2262 | m2 | 240 | 542880 |  |  | Left as is
| Upper Floors. |  |  |  | 0
| Reinforced Concrete Frame to upper floors; 7.5m spans | 9990 | m2 | 150 | 1498500 |  |  | As schedule
| Reinforced Concrete Frame to upper floors | 9990 | m2 | 10 | 99900 |  |  | As schedule
0
0
| Roof |  |  |  | 0
| Roof structure | 1640 | m2 | 115 | 188600 |  |  | As schedule
| Flat roof coverings; specification tbc | 652.3822 | m2 | 75 | 48928.6635 |  |  | Pro rata
| Green roof; specification tbc | 987.6178 | m2 | 200 | 197523.5641 |  |  | Pro rata
Atrium
| Steel structure | 1620 | m2 | 220 | 356400 |  |  | As schedule
| Roof | 275 | m2 | 820 | 225500 |  |  | As schedule
0
| Stairs |  |  |  | 0
| Precast concrete reinforced staircase including mild steel balustrades; Stair treads and risers in heavy contract carpet tiles; 1nr @ 7 Storeys; 1 nr @ 6 storeys; 1nr @ 5 storeys | 3 | nr | 30000 | 90000 |  |  | Left as is
0
| External Walls |  |  |  | 0
| Cavity wall; facing brick outer skin ; insulation; standard weight block inner skin | 210.3373 | m2 | 180 | 37860.7142 |  |  | Left as is
| Recessed perforated terracotta panels | 2297.7 | m2 | 340 | 781218 |  |  | Pro rata
| Recessed double glazed panels (shop window) | 262 | m2 | 820 | 214840 |  |  | Left as is
| Allowance for Concrete elevational enhancement detail | 1 | item | 10000 | 10000 |  |  | Left as is
0
| Windows and External Doors |  |  |  | 0
| Curtain walling with terracotta projecting fins for solar shading | 3696.3 | m2 | 850 | 3141855 |  |  | Pro rata
| Office entrance doors; automated glazed double leaf | 3 | nr | 9000 | 27000 |  |  | Left as is
0
| Internal Walls |  |  |  | 0
| Dense aggregate block partitions 140mm thick | 998.0685 | m2 | 75 | 74855.1352 |  |  | Pro rata
| Metal stud and board partition 73mm partition; 48mm studs and channels; 1 layer of 12.5mm Gyproc wall board each side | 107.7914 | m2 | 50 | 5389.5697 |  |  | Pro rata
0
| Internal Doors |  |  |  | 0
| Single leaf; solid core flush doors with concealed lippings to all edges timber frame and architrave to match | 109 | nr | 300 | 32700 |  |  | Pro rata
| Double leaf; solid core flush doors with concealed lippings to all edges timber frame and architrave to match | 4 | nr | 700 | 2800 |  |  | Pro rata
| Double leaf riser cupboard; solid core flush doors with concealed lippings to all edges timber frame and architrave to match | 21 | nr | 700 | 14700 |  |  | Pro rata
0
| Internal finishes |  |  |  | 0
0
| Wall Finishes |  |  |  | 0
| Vinyl matt emulsion paint to skimmed plasterboard | 1108.5214 | m2 | 7 | 7759.6497 |  |  | Pro rata | 1.3308
| Extra over allowance for moisture resistant plasterboard | 221.276 | m2 | 10 | 2212.7605 |  |  | Pro rata
| Wall tile 200 x 100 x 6.5mm; tiled in brick bond pattern | 111.7837 | m2 | 45 | 5030.2651 |  |  | Pro rata
| Painted exposed wall to plant room | 165 | m2 | 6 | 990 |  |  | Pro rata
| Painted exposed walls to basement | 292.1457 | m2 | 6 | 1752.8745 |  |  | Pro rata
0
| Floor Finishes |  |  |  | 0
| Floor screed and insulation | 10400 | m2 | 22 | 228800 |  |  | Pro rata
| Raised Access Floors to office area | 10400 | m2 | 48 | 499200 |  |  | Pro rata
| Allowance for unspecified floor finish to office area | 9990 | m2 | 45 | 449550 |  |  | Pro rata
| Floor tile 300 x 300 x 8.5mm tile (toilets) | 319.3819 | m2 | 40 | 12775.2764 |  |  | Pro rata
| Heavy contract carpet tiles (circulation area) | 625.4562 | m2 | 30 | 18763.6872 |  |  | Pro rata
| Skirting boards; 100mm MDF skirting; Dulux eggshell white | 1352.0501 | m | 15 | 20280.7513 |  |  | Pro rata
| Painted concrete to plant room floor | 410 | m2 | 6 | 2460 |  |  | Pro rata
| Allowance for Mat wells | 1 | item | 1500 | 1500 |  |  | Left as is
| Ceiling Finishes |  |  |  | 0
| Paint to exposed soffit | 10400 | m2 | 27 | 280800 |  |  | Pro rata
| Spray to basement ceiling | 410 | m2 | 4 | 1640 |  |  | As schedule
0
| Fittings and furnishings |  |  |  | 0
| Kitchen units; semi gloss; with Bosch appliances and S/S Sink | 1 | nr | 5800 | 5800 |  |  | Left as is
| Tea Points | 10 | nr | 3000 | 30000 |  |  | Left as is
| Allowance for directional signage | 2 | item | 5000 | 10000 |  |  | Left as is
| Cycle storage | 50 | nr | 200 | 10000 |  |  | Left as is
| Toilet cubicles specification tbc | 69 | nr | 1200 | 82800 |  |  | Pro rata
| IPS panels for toilets | 264.8208 | m2 | 100 | 26482.0834 |  |  | Pro rata
| Mirrors | 1 | item | 12000 | 12000 |  |  | Left as is
| All the desks etc on the ground floor - customer service section | 1 | item | 85000 | 85000 |  |  | Left as is
| Allowance for extra fittings to disabled toilets | 10 | nr | 1500 | 15000 |  |  | Left as is
| Allownance for furniture fit out to cat B | 1 | item | 2130000 | 2130000 |  |  | Left as is
| Services |  |  |  | 0
| Sanitary appliances |  |  |  | 0
0
| WCs; Unspecified | 73 | nr | 350 | 25550 |  |  | Pro rata
| Wash hand Basins; unspecified | 73 | nr | 250 | 18250 |  |  | Pro rata
| Urinals; unspecified | 28 | nr | 300 | 8400 |  |  | Pro rata
| Hand dryers | 24 | nr | 500 | 12000 |  |  | Pro rata
| Commercial kitchen sink | 1 | nr | 1200 | 1200 |  |  | Left as is
0
| Services Equipment |  |  |  | 0
0
| Dishwasher | 1 | item | 1500 | 1500 |  |  | Left as is
| Water Installations |  |  |  | 0
0
| Water installation complete; primary and secondary distribution | 10400 | m2 | 25 | 260000 |  |  | Pro rata
| Water installation to kitchen | 1 | item | 5000 | 5000 |  |  | Left as is
0
| Disposal installation |  |  |  | 0
0
| Rainwater installation | 10400 | m2 | 5 | 52000 |  |  | Pro rata
| Soil and waste installations | 10400 | m2 | 15 | 156000 |  |  | Pro rata
| Drainage to basement | 410 | m2 | 20 | 8200 |  |  | As schedule
0
| Heat source |  |  |  | 0
0
| CHP Plant Allowance | 1 | item | 260000 | 260000 |  |  | Increased rate
| Water source heat pump | 1 | item | 156000 | 156000 |  |  | Increased rate
0
| Space heating and ventilation installations |  |  |  | 0
0
| Underfloor Heating System Installation - perimeter trench Installation | 10400 | m2 | 55 | 572000 |  |  | Pro rata
| Ventilation to plant room and basement | 1 | item | 42500 | 42500 |  |  | Left as is
| Heat recovery air handling plant | 1 | item | 156000 | 156000 |  |  | Increased rate
| Air conditioning installation | 10400 | m2 | 26 | 270400 |  |  | Pro rata
| Allowance for heat pump chillers | 1 | item | 130000 | 130000 |  |  | Increased rate
0
| Electrical installations |  |  |  | 0
0
| To include all lighting and power requirements; including distribution; fittings; sockets; earthing and bonding | 10400 | m2 | 125 | 1300000 |  |  | Pro rata
| Allowance for PV Panels | 1 | item | 143000 | 143000 |  |  | Increased rate
| Substation | 1 | item | 100000 | 100000 |  |  | Left as is
0
| Lift installation |  |  |  | 0
| Lift; electric traction lift with centrally opening doors and; floor and automated audio indictor | 4 | nr | 65000 | 260000 |  |  | Left as is
0
| Protective installations |  |  |  | 0
0
| Allowance for AOVs, smoke alarms, fire alarms, emergency communication systems, fire telephones and disabled refuge alarm item, etc | 10400 | m2 | 20 | 208000 |  |  | Pro rata
| Lightning protection | 172 | m2 | 25 | 4300 |  |  | Left as is
| Allowance for sprinkler system | 10400 | m2 | 15 | 156000 |  |  | Pro rata
0
| Communication installations |  |  |  | 0
0
| Data/AV Installations | 10400 | item | 30 | 312000 |  |  | Pro rata
| Installation of BMS system | 10400 | m2 | 28 | 291200 |  |  | Pro rata
| CCTV recognition | 1 | item | 20000 | 20000 |  |  | Left as is
| Intruder detection system | 1 | item | 33788 | 33788 |  |  | Left as is
| Special installations |  |  |  | 0 | 4963288
0
| Builders work in connection | 3 | % | 4963288 | 148898.64 |  |  | Percentage
| Testing & Commissioning | 5 | % | 5112186.64 | 255609.332 |  |  | Percentage
| M&E Subcontract Preliminaries | 8 | % | 5367795.972 | 429423.6778 |  |  | Percentage
0
0
| External Works |  |  |  | 0
| Priced elsewhere |  |  |  | 0
0
| Preliminaries |  |  |  | 0
| @ | 14 | % | 18393085.7503 | 2575032.005 |  |  | Percentage
0
| Allowance for Design Fees |  |  |  | 0
| @ | 9.575 | % | 20968117.7554 | 2007697.2751 |  |  | Percentage
0
| Overheads & Profit |  |  |  | 0
| @ | 7 | % | 22975815.0305 | 1608307.0521 |  |  | Percentage
0
0
0
|  |  |  | Sub-Total | 24584122.0826 |  | #DIV/0!
|  |  |  | Add contingency of 5% | 1229206.1041 |  |  | Percentage
|  |  |  | Sub-Total | 25813328.1867 |  | #DIV/0!
|  |  |  | Add allowance for inflation of 10.2% (Based on BCIS) - excl | 0 |  |  | Percentage
|  |  |  | Total | 25813328.1867 | 3055.9167
|  |  |  | BCE | 7600000
|  |  |  | Diff | -16984122.0826
Assumptions
1 | External wall construction
2 | Internal wall construction (party walls) |  |  |  | 17823170
3 | Internal wall partitions
4 | Cycle storage capacity
5 | Storey height @ 3m and floor to ceiling @ 2.4m
6 | Entrance glazed wall height @ 2.5m
7 | Balcony terrace window heights @ 3m
8 | Internal finishes based on percentage upllift of 1B2P layout shown
9 | Apartment Internal doors based on habitable rooms plus bathrooms and cupboards plus en suite bathroom doors and cleaner cupboard doors and cleaner cupboard doors
10 | Tiled walls to bathrooms based on 40% of wall area
11 | No floor or ceiling finish allowed for creche or plant room
12 | Windows assumed @ 30% of external walls