## Sheet1
Town Hall
| SW2 Enterprise Centre |  |  |  |  | GIFA
7650
| Description | Quantity | Unit | Rate | Total
Site Preparation
| Allowance for demolition of all structures as per PTEa drawing; including protection of and make good to adjacent structures | 1178 | m2 | 100 | 117800
| Allowance to replace/repair columns in car park | 1 | item | 22500 | 22500
| Allowance to create new access to basement for bikes | 1 | item | 12000 | 12000
| Allowance for strip out to less sensitive areas; including removal of finishes; cutting back projections; strip out of services | 3212 | m2 | 40 | 128480
| Allowance for restoration/refurbishment work to assembly hall, town hall, corridors and entrances | 1773 | m2 | 700 | 1241100
0
| Substructure |  |  |  | 0
0
| No works specified |  |  |  | 0
0
| Superstructure |  |  |  | 0
0
| Frame |  |  |  | 0
0
| No works specified |  |  |  | 0
0
| Upper Floors. |  |  |  | 0
0
| incl in Frame |  |  |  | 0
0
| Roof |  |  |  | 0
0
| Allowance for structural strengthening to roof over juvenile court. | 128 | m2 | 180 | 23040
| Retention /refurbishment of roof light (hopefully to avoid overcladding) | 1 | item | 15000 | 15000
| Allowance for roof strengthening to the green roof to Assembly Rooms | 384 | m2 | 285 | 109440
| Allowance for roof strengthening required for bar above Assembly rooms. | 125 | item | 180 | 22500
| Roof structure and coverings to extended office space | 123 | m2 | 185 | 22755
| Roof structure and coverings to new bar area | 125 | m2 | 185 | 23125
| Allowance for extensive roof repairs as per condition survey | 1 | item | 162000 | 162000
| Allowance for green roof to assembly hall | 125 | m2 | 220 | 27500
0
| Stairs |  |  |  | 0
0
| Refurbishment works included above |  |  |  | 0
External Walls
| Allowance for extensive repairs as per condition survey | 1 | item | 120000 | 120000
| New build masonry walls to new bar area | 44 | m2 | 150 | 6600
| New build masonry walls to extended office area | 62 | m2 | 150 | 9300
0
Windows and External Doors
| Allowance for redecoration and general maintenance of listed windows and doors | 1 | item | 100000 | 100000
Internal Walls
| Allowance for construction of new walls where remodelling is required. Assumed that requirement is low. | 1 | item | 50000 | 50000
Internal Doors
| Allowance for replacement of doors; single | 187 | nr | 300 | 56100
| Allowance for replacement of doors; double | 80 | nr | 550 | 44000
| Allowance for new doors due to remodelling | 1 | item | 20000 | 20000
Internal finishes
Wall Finishes
0
| Allowance plaster and paint finish to all stripped back walls and new walls | 4200 | m2 | 20 | 84000
| Allowance for sundry decoration | 1 | item | 15000 | 15000
| Allowance for tiling to WC areas | 11 | nr | 1000 | 11000
0
Floor Finishes
| Allowance for new flooring to less sensitive areas | 3462 | m2 | 40 | 138480
| Allowance for skirting | 1925 | m | 15 | 28875
Ceiling Finishes
0
| Allowance for formation of ductwork | 3462 | m2 | 20 | 69240
| Allowance for plasterboard and painted ceiling to less sensitive areas | 3462 | m2 | 32 | 110784
Fittings and furnishings
| Reception Desk | 1 | item | 15000 | 15000
| Allowance for statutory signage | 1 | item | 15000 | 15000
| Allowance for IPS panels and cubicles in WC Areas | 1 | item | 40000 | 40000
No allowance for new furniture included.
Services
Sanitary appliances
| WCs; Unspecified; allowance | 1 | item | 12250 | 12250
| Wash hand Basins; unspecified | 1 | item | 6250 | 6250
| Urinals; unspecified | 1 | nr | 3600 | 3600
Disposal installation
| Rainwater installation - repairs to existing - allowance | 1 | item | 40000 | 40000
Water Installations
| New water installation complete; secondary distribution | 5235 | m2 | 12 | 62820
0
Heat Source
| Allowance for Gas fired boilers | 1 | item | 45000 | 45000
Space heating and ventilation installations
| Allowance for modular units heating and ventilating through existing grills | 1 | item | 120000 | 120000
| Ventilation to basement | 1 | item | 5000 | 5000
| Heat recovery air handling plant | 1 | item | 60000 | 60000
| Allowance for heat pump chillers | 1 | item | 60000 | 60000
Electrical installations
| To include all lighting and power requirements; including distribution; fittings; sockets; earthing and bonding | 5235 | m2 | 105 | 549675
| Extra over for lighting to feature areas | 1 | item | 25000 | 25000
0
| Lift installation |  |  |  | 0
0
| Passenger lift | 1 | nr | 40000 | 40000
| Allowance for disabled access arrangement | 1 | nr | 20000 | 20000
0
Protective installations
| Allowance for smoke alarms, fire alarms, emergency communication systems, fire telephones and disabled refuge alarm item, etc | 5235 | m2 | 15 | 78525
| Allowance for sprinkler system | 5235 | m2 | 15 | 78525
Communication installations
| Data/AV Installations | 1 | item | 100000 | 100000
| Installation of BMS system | 5235 | m2 | 15 | 78525
| Allowance for CCTV system | 1 | item | 70000 | 70000
| Panic Alarm system | 1 | item | 6885 | 6885
| ID entry system | 1 | item | 3500 | 3500
| Intruder detection system | 1 | item | 30600 | 30600
| Special installations |  |  |  |  | 1496155
0
| Builders work in connection | 3 | % | 1496155 | 44884.65
| Testing & Commissioning | 5 | % | 1541039.65 | 77051.9825
| M&E Subcontract Preliminaries | 8 | % | 1618091.6325 | 129447.3306
External Works
Priced elsewhere
| Preliminaries |  |  |  | 0
0
| @ | 18 | % | 4608157.9631 | 829468.4334
0
| Allowance for Design Fees |  |  |  | 0
0
| @ | 9.575 | % | 5437626.3965 | 520652.7275
0
| Overheads & Profit |  |  |  | 0
0
| @ | 7 | % | 5958279.1239 | 417079.5387
0
0
0
|  |  |  | Sub-Total | 6375358.6626
|  |  |  | Add contingency of 15% | 956303.7994
|  |  |  | Total | 7331662.462
Assumptions
1
2
3
4
5
6
7
8
9
10