## Sheet1
Wanless Road
| SW2 Enterprise Centre |  |  |  |  | GIFA
927
| Description | Quantity | Unit | Rate | Total
Site Preparation
| Demolition - Masonry Structures | 1 | item | 13500 | 13500
| Demolition - Warehouse | 315 | m2 | 45 | 14175
- inc. grubbing up ready to receive new foundations
| Refurbishment Works |  |  |  | 0
| Allowance to re-decorate Timber Fascia | 1 | item | 1500 | 1500
| Overhaul, redecorate and repair timber windows; replacing cills | 50 | m2 | 375 | 18750
| Redecorate timber block entrance doors | 3 | nr | 200 | 600
| Allowance to redecorate cast iron drainage at low level and plastic at high level | 1 | item | 1500 | 1500
| Allowance for general maintenance to facing brickwork | 1 | item | 2500 | 2500
| Allowance to repair minor cracking and maintenance to stone cills and render surrounds | 1 | item | 1500 | 1500
Substructure
| Foundations to new build | 342 | m2 | 225 | 76950
| Ground Floor construction | 342 | m2 | 60 | 20520
- Assumed Beam and Block
0
| Superstructure |  |  |  | 0
0
| Upper Floors. |  |  |  | 0
0
| Timber suspended floors | 300 | m2 | 90 | 27000
| Allowance for structural and aesthetic treatments to terraced areas; unspecified | 5 | nr | 1200 | 6000
0
| Roof |  |  |  | 0
| Roof structure | 314 | m2 | 90 | 28260
| Roof Coverings; measured on plan | 314 | m2 | 70 | 21980
0
| Stairs |  |  |  | 0
| Timber staircase including timber balustrades; Stair risers and goings in heavy contract carpet tiles; 1 storey | 7 | nr | 1400 | 9800
0
| External Walls |  |  |  | 0
| Load Bearing Masonry Walls | 678 | m2 | 180 | 122040
0
| Windows and External Doors |  |  |  | 0
| uPVC windows; standard ironmongery; cills and factory glazed; Secure by Design accreditation; assumed 30% of external wall area | 203.4 | m2 | 350 | 71190
| Allowance for glazed entrance screens; specification tbc | 1 | item | 2200 | 2200 | allowed floor 2 floor (3m high)
| Balcony/Terrace glazed doors | 4 | nr | 900 | 3600
0
| Internal Walls |  |  |  | 0
| Dense aggregate block partitions 140mm thick | 90 | m2 | 75 | 6750
| Metal stud and board partition 73mm partition; 48mm studs and channels; 1 layer of 12.5mm Gyproc wall board each side | 717.6 | m2 | 50 | 35880
0
| Internal Doors |  |  |  | 0
| Entrance door; IG Door; with spy hole only and no letter plate | 9 | nr | 650 | 5850 |  | front doors
| Room door; solid core flush doors with concealed lippings to all edges timber frame and architrave to match | 48 | nr | 300 | 14400 |  | halls, bedrooms, bathrooms etc
0
| Internal finishes - ALL MEASURED AGAINST TYPICAL UNIT |  |  |  | 0
0
| Wall Finishes |  |  |  | 0
| Vinyl matt emulsion paint to skimmed plasterboard | 2293.2 | m2 | 7 | 16052.4 |  | Hall, living/dining, bedrooms, bathrooms, lobbies, kitchens
| Extra over allowance for moisture resistant plasterboard | 343.98 | m2 | 10 | 3439.8
| Wall tile 200 x 100 x 6.5mm; tiled in brick bond pattern | 142.3872 | m2 | 45 | 6407.424 |  | bathrooms wet areas only
0
| Floor Finishes |  |  |  | 0
| Floor screed and insulation | 883.7993 | m2 | 22 | 19443.5836
| Boen 3-strip Walnut Adante 14mm engineered board with Protect Ultra finish on underlay | 493.0573 | m2 | 40 | 19722.2912 |  | Halls, living, dining, kitchens
| 80/20% wool mix carpet on underlay | 271.1033 | m2 | 40 | 10844.1306 |  | bedrooms
| Floor tile 300 x 300 x 8.5mm tile | 119.6387 | m2 | 35 | 4187.3549 |  | bathrooms, cupboards, cloakroom H
| Skirting boards; 100mm MDF skirting; Dulux eggshell white | 955.5 | m | 15 | 14332.5
| Ceiling Finishes |  |  |  | 0
0
| Plasterboard; to battens shot and fired to soffit | 927 | m2 | 27 | 25029 |  | halls, living/dining, kitchens, bedrooms, bathrooms, lobbies
| Vinyl matt emulsion to skimmed plasterboard | 927 | m2 | 9 | 8343 |  | halls, living/dining, kitchens, bedrooms, bathrooms, lobbies
0
| Fittings and furnishings |  |  |  | 0
| Kitchen units; semi gloss; with Bosch appliances and S/S Sink | 9 | nr | 5800 | 52200
| Vanity unit including; vanity shelf and cupboard | 15 | nr | 450 | 6750
| Allowance for bathroom accessories including heated towel rail, steel robe hooks and toilet roll holder and door stops | 9 | item | 500 | 4500
| Allowance for directional signage | 1 | item | 1000 | 1000
| Cycle storage; assumed | 36 | nr | 200 | 7200 | Allowed one per bed space.
0
| Services |  |  |  | 0
0
| Sanitary appliances |  |  |  | 0
| 550 x 460mm semi recessed basin with one tap hole and overflow; inc single lever chrome monobloc basin mixer | 19 | nr | 350 | 6650
| WC with soft close seat and cover; hinges in stainless steel | 19 | nr | 250 | 4750
| Steel enamelled bath with bath filler/shower mixer | 9 | nr | 300 | 2700
| En suite shower including; tray, riser panel, enclosure, mixer and shower set | 5 | nr | 450 | 2250
| Water Installations |  |  |  | 0
0
| Water installation complete; primary and secondary distribution | 9 | nr | 1500 | 13500
0
| Disposal installation |  |  |  | 0
| Rainwater installation | 4 | nr | 750 | 3000
| Soil and waste installations | 927 | m2 | 15 | 13905
0
| Heat source |  |  |  | 0
0
| Efficient boilers to all units | 9 | nr | 3000 | 27000
0
| Space heating and ventilation installations |  |  |  | 0
0
| Radiator system throughout | 927 | m2 | 35 | 32445
| Extract to kitchens and bathrooms | 9 | nr | 550 | 4950
0
| Electrical installation Complete |  |  |  | 0
0
| To include all lighting and power requirements; including distribution; fittings; sockets; earthing and bonding | 927 | m2 | 60 | 55620
0
| Protective installations |  |  |  | 0
0
| Allowance for smoke alarms, fire alarms, emergency communication systems, fire telephones and disabled refuge alarm item, etc | 927 | m2 | 6 | 5562
0
| Communication installations |  |  |  | 0
0
| Data/AV Installations | 1 | item | 15000 | 15000
0
| Special installations |  |  |  | 0 | 187332
0
| Builders work in connection | 3 | % | 187332 | 5619.96
| Testing & Commissioning | 5 | % | 192951.96 | 9647.598
| M&E Subcontract Preliminaries | 8 | % | 202599.558 | 16207.9646
0
0
| External Works |  |  |  | 0
0
| Allowance for resurfacing of existing road (including car ports) | 873 | m2 | 50 | 43650
| Allowance for drainage works | 927 | m2 | 18 | 16686
| Allowance for soft landscaping including trees | 1 | item | 10000 | 10000
| Preliminaries |  |  |  | 0
0
| @ | 14 | % | 995040.0069 | 139305.601
0
| Allowance for Design Fees |  |  |  | 0
0
| @ | 9.575 | % | 1134345.6079 | 108613.592
0
| Overheads & Profit |  |  |  | 0
0
| @ | 7 | % | 1242959.1998 | 87007.144
0
0
0
|  |  |  | Sub-Total | 1329966.3438
|  |  |  | Add contingency of 5% | 66498.3172
|  |  |  | Total | 1396464.661
Assumptions
1 | External wall construction
2 | Internal wall construction (party walls)
3 | Internal wall partitions
4 | Cycle storage capacity
5 | Storey height @ 3m
6 | Entrance glazed wall height @ 2.5m
7 | Balcony terrace window heights @ 2m
8
9
10