## 88 Bedford Road
CENTRAL AREA
BEDFORD ROAD
PROPERTY ADDRESS : | 88 Bedford Road
SCAFFOLDING
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
1 | Scaffolding: Provide, erect and dismantle tubular scaffolding, with ladders, pulley ropes, wheel fixings etc.
a | 5.00m high - 8 weeks hire |  | m² | 13.344 | 0 |  | 0 |  | 0
b | 10.00m high - 10 weeks hire |  | m² | 11.398 | 0 |  | 0 |  | 0
c | 15.00m high - 13 weeks hire | 300 | m² | 13.9 | 4170 | 232 | 3224.8 | 100% | 3224.8
d | 20.00m high - 13 weeks hire |  | m² | 12.51 | 0 |  | 0 |  | 0
e | Provide access to Chimney stacks for rebuilding or repair; up to 2m high | 1 | Nr | 500 | 500 | 1 | 500 | 100% | 500
f | Additional weekly hire (allow 3 weeks total for blocks) | 4800 | m² | 0.9 | 4320 | 2320 | 2088 | 0% | 0 | 2088
2 | Scaffolding: Provide, erect, maintain for a period not exceeding one week and dismantle tubular tower scaffolding with all ladders, pulley rope, wheel fixings and one lift of boards.
a | ne 10.00m high |  | Nr | 480 | 0 |  | 0 |  | 0
b | ne 15.00m high |  | Nr | 800 | 0 |  | 0 |  | 0
c | ne 20.00mm high |  | Nr | 1371 | 0 |  | 0 |  | 0
d | Move tubular tower scaffolding to new location as directed by Contract Administrator, temporary dismantle and re-erect as necessary, any height of tower. |  | Nr | 83.67 | 0 |  | 0 |  | 0
3 | Provide scissor lift or telescopic hydraulic platform vehicle, max capacity 200kg up to 10.00m platform height, attend upon CA during inspection, with any temporary relocation, remove.
a | 10m High |  | Days | 29.1 | 0 |  | 0 |  | 0
b | 20m High |  | Days | 29.1 | 0 |  | 0 |  | 0
4 | Protection
a | Debris netting |  | m² | 0.01 | 0 |  | 0 |  | 0
b | Provide, erect and maintain dust proof external screen, remove. |  | m² | 2 | 0 |  | 0 |  | 0
c | 3 metre wide protective fan over communal entrances | 6 | m² | 16.67 | 100.02 |  | 0 |  | 0
d | Brick Guards | 36 | m | 0.5 | 18 | 36 | 18 | 100% | 18
e | Temporary Guard rails to plant rooms/lift shaft/stairwells |  | m | 15 | 0 |  | 0 |  | 0
5 | Provide, erect, maintain for a period n.e. one week, dismantle, flexible plastic, standard size rubbish chute fixed to scaffold; complete with siteguard panels, side entry chute.
a | ne 10.00m high |  | m | 32 | 0 |  | 0 |  | 0
b | ne 15.00m high |  | m | 32 | 0 |  | 0 |  | 0
c | ne 20.00m high |  | m | 36 | 0 |  | 0 |  | 0
6 a | 300kg electric goods hoist seving up to 9 storeys high; including erection, testing, 13 weeks hire, power supply, all electricity, 2 metre high 'Heras' fencing. enclosure and dismantling |  | Nr | 2388 | 0 |  | 0 |  | 0
b | Additional weekly hire |  | weeks | 191 | 0 |  | 0 |  | 0
7 | 2 metre high 'Heras fencing to perimeter of ground/1st floor scaffold | 12 | m | 9 | 108 |  | 0 |  | 0
8 | Scaffold alarm to perimeter at 1st floor level for 28 day period; including installation and dismantling, warning signs to each elevation, 2 pairs of dual-tech beams and control via a keyholding company. |  | Nr | 400 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 9216.02 |  | 5830.8 |  | 3742.8 | Scaff
DOMESTIC PLUMBING WORKS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
Above Ground Drainage
9 | Soil Stacks
a | Take down external soil stack complete to any dwelling over 2 but n.e. 4 storeys; renew with 110mm PVCu pipework including all fittings, joints, fixing to structure, making good & testing. |  | m | 19 | 0 |  | 0 |  | 0
b | Renew 110mm diameter PVCu length or section of internal soil stack; including all fixings & clips, joints, making good, removal & refixing of duct casings and testing. |  | m | 23.75 | 0 |  | 0 |  | 0
c | Extra over for replacement in cast iron. |  | m | 23.75 | 0 |  | 0 |  | 0
10 | Gutters & Downpipes |  |  |  | 0 |  | 0 |  | 0
a | 112mm PVCu gutter of any profile; including support brackets, angles, outlets, stop ends, cutting, lining & levelling, connections to existing guttering & downpipes. |  | m | 8.55 | 0 |  | 0 |  | 0
b | 150mm PVCu gutter of any profile; including support brackets, angles, outlets, stop ends, cutting, lining & levelling, connections to existing guttering & downpipes |  | m | 9.5 | 0 |  | 0 |  | 0
c | Extra over for replacement in cast iron. |  | m | 11.875 | 0 |  | 0 |  | 0
d | Renew round or square PVCu downpipe to any dwelling over 2 but n.e. 4 storeys; including new brackets, branches, offsets, hopper head, shoe, terminal, slate, joints & making good. |  | m | 8.55 | 0 |  | 0 |  | 0
e | Extra over for replacement in cast iron. |  | m | 24.225 | 0 |  | 0 |  | 0
CVI Nr
236 | Gutter Repairs. | [6 empty] | 100% | 404.13
Associated Asbestos works are covered in a separate section of this document
|  |  |  | SECTION TOTAL | 0 |  | 0 |  | 404.13 | rainwater
COMMUNAL LIGHTING
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
CL1 | Supply and install three compartment 150 x 50mm steel galvanised trunking from both electrical intakes rising up the stairwell to the roof space and along all undersides of balconies. Trunking to be wireway for landlords lighting, door entry and communal aerial cabling. |  | Storeys | 928 | 0 |  | 0 |  | 0
CL2 | Landlords lighting shall be wired through the new three compartment trunking in 1.5mm² PVC single-stranded cable. Lighting shall be controlled from the controlled landlords distribution board. |  | m | 0.55 | 0 |  | 0 |  | 0
CL3 | Supply and install new fittings on the underside of the public balconies (Coughtrie CPS 28-2D (large) or equivalent specification) which shall be fed via HG galvanised steel conduit fed from the new three compartment trunking. |  | nr | 133.25 | 0 |  | 0 |  | 0
CL4 | Supply and install new fittings to stairwells (Coughtrie CPS 28-2D (large) or equivalent specification) which shall be fed via HG galvanised steel conduit fed from the new three compartment trunking. |  | nr | 133.25 | 0 |  | 0 |  | 0
CL5 | Supply and install new fittings to electrical intake cupboards (Coughtrie CPS 28-2D (large) or equivalent specification) which shall be fed via HG galvanised steel conduit fed from the new three compartment trunking including the provision of an independent switch control. |  | nr | 160.5 | 0 |  | 0 |  | 0
CL6 | Supply and install wall-packette fittings (70W Holophane or equivalent approved) to entrances and front and sides externally fed by 1.5mm² M.I.C.C. cable wiring. |  | nr | 275 | 0 |  | 0 |  | 0
CL7 | Supply and install new Timeswitch Quartz controlled solar dial zone 2 (Sangamo controls or equivalent specification) complete with box for conduit entry. |  | nr | 5.43 | 0 |  | 0 |  | 0
CL8 | External bulkhead light with photo-cell and internal switch. |  | nr | 29 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 0 |  | 0 |  | 0
LIGHTNING CONDUCTOR
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
Supply and install the following including all labour, plant, materials, making good, builders work etc and with full cognisance of the expanded detail relating to items on this page provided on the attached, related specification.
LC1 | Supply and install lightning conductor system including all fixings, clips, joints, terminals, clamps and earthing rods all in accordance with the requirements set out in the lightning protection specification and also allow for bonding ladders, rails, communal aerial masts and poles to earth. |  | m | 6 | 0 |  | 0 |  | 0
LC2 | Test and commission lightning protection system including demonstrations and provision of all commissioning sheets and certificates, installed drawings and technical materials. |  | Nr | 300 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 0 |  | 0 |  | 0
UPVC WINDOWS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
UPVC
| Carry out conditions survey including photographic record to property before works commence for uPVC windows |  | Nr | 0 | 0 |  | 0 |  | 0
| Take down or disconnect any security grilles, wires, alarms, nets, curtains and battens to facilitate removal and installation of windows; re-connect wiring and alarms and re-fix battens, nets and curtains. |  | prop | 0 | 0 |  | 0 |  | 0
a | uPVC Windows, fixed pane 400 x 600 |  | Nr | 64.7108 | 0 |  | 0 |  | 0
b | uPVC Windows, fixed pane 400 x 800 |  | Nr | 69.0983 | 0 |  | 0 |  | 0
c | uPVC Windows, fixed pane 600 x 800 |  | Nr | 75.3675 | 0 |  | 0 |  | 0
d | uPVC Windows, fixed pane 600 x 1000 |  | Nr | 82.0755 | 0 |  | 0 |  | 0
e | uPVC Windows, fixed pane 800 x 1000 |  | Nr | 88.9688 | 0 |  | 0 |  | 0
f | uPVC Windows, fixed pane 1000 x 1000 |  | Nr | 112.3005 | 0 |  | 0 |  | 0
g | uPVC Windows, fixed pane 1200 x 1000 |  | Nr | 131.3227 | 0 |  | 0 |  | 0
h | uPVC Windows, fixed pane 1400 x 1000 |  | Nr | 128.8852 | 0 |  | 0 |  | 0
i | uPVC Windows, fixed pane 1600 x 1000 |  | Nr | 146.9325 | 0 |  | 0 |  | 0
j | uPVC Windows, fixed pane 1800 x 1000 |  | Nr | 154.9275 | 0 |  | 0 |  | 0
k | uPVC Windows, fixed pane 2000 x 1000 |  | Nr | 167.9145 | 0 |  | 0 |  | 0
l | uPVC Windows, fixed pane 1200 x 2000 |  | Nr | 187.3462 | 0 |  | 0 |  | 0
m | uPVC Windows, fixed pane 1400 x 2000 |  | Nr | 202.9365 | 0 |  | 0 |  | 0
n | uPVC Windows, fixed pane 1600 x 2000 |  | Nr | 222.027 | 0 |  | 0 |  | 0
o | uPVC Windows, fixed pane 1800 x 2000 |  | Nr | 231.6795 | 0 |  | 0 |  | 0
p | uPVC Windows, fixed pane 2000 x 2000 |  | Nr | 270.0945 | 0 |  | 0 |  | 0
q | uPVC Windows, fixed pane 2200 x 2000 |  | Nr | 285.3533 | 0 |  | 0 |  | 0
a | uPVC Windows, Casement 400 x 600 |  | Nr | 99.5378 | 0 |  | 0 |  | 0
b | uPVC Windows, Casement 400 x 800 |  | Nr | 104.9002 | 0 |  | 0 |  | 0
c | uPVC Windows, Casement 600 x 800 |  | Nr | 112.0568 | 0 |  | 0 |  | 0
d | uPVC Windows, Casement 600 x 1000 |  | Nr | 119.9348 | 0 |  | 0 |  | 0
e | uPVC Windows, Casement 800 x 1000 |  | Nr | 128.8268 | 0 |  | 0 |  | 0
f | uPVC Windows, Casement 1000 x 1000 |  | Nr | 142.5938 | 0 |  | 0 |  | 0
g | uPVC Windows, Casement 1200 x 1000 |  | Nr | 164.6482 | 0 |  | 0 |  | 0
h | uPVC Windows, Casement 1400 x 1000 |  | Nr | 182.8028 | 0 |  | 0 |  | 0
i | uPVC Windows, Casement 1600 x 1000 |  | Nr | 196.0823 | 0 |  | 0 |  | 0
j | uPVC Windows, Casement 1800 x 1000 |  | Nr | 203.9992 | 0 |  | 0 |  | 0
k | uPVC Windows, Casement 2000 x 1000 |  | Nr | 210.9412 | 0 |  | 0 |  | 0
l | uPVC Windows, Casement 1200 x 2000 |  | Nr | 244.5593 | 0 |  | 0 |  | 0
m | uPVC Windows, Casement 1400 x 2000 |  | Nr | 260.2665 | 0 |  | 0 |  | 0
n | uPVC Windows, Casement 1600 x 2000 |  | Nr | 279.9518 | 0 |  | 0 |  | 0
o | uPVC Windows, Casement 1800 x 2000 |  | Nr | 294.5962 | 0 |  | 0 |  | 0
p | uPVC Windows, Casement 2000 x 2000 |  | Nr | 318.4837 | 0 |  | 0 |  | 0
q | uPVC Windows, Casement 2200 x 2000 |  | Nr | 336.5212 | 0 |  | 0 |  | 0
a | uPVC Windows, Tilt and Turn 400 x 600 |  | Nr | 153.1627 | 0 |  | 0 |  | 0
b | uPVC Windows, Tilt and Turn 400 x 800 |  | Nr | 162.4253 | 0 |  | 0 |  | 0
c | uPVC Windows, Tilt and Turn 600 x 800 |  | Nr | 170.5567 | 0 |  | 0 |  | 0
d | uPVC Windows, Tilt and Turn 600 x 1000 |  | Nr | 181.3597 | 0 |  | 0 |  | 0
e | uPVC Windows, Tilt and Turn 800 x 1000 |  | Nr | 193.1767 | 0 |  | 0 |  | 0
f | uPVC Windows, Tilt and Turn 1000 x 1000 |  | Nr | 210.8438 | 0 |  | 0 |  | 0
g | uPVC Windows, Tilt and Turn 1200 x 1000 |  | Nr | 234.3607 | 0 |  | 0 |  | 0
h | uPVC Windows, Tilt and Turn 1400 x 1000 |  | Nr | 246.1778 | 0 |  | 0 |  | 0
i | uPVC Windows, Tilt and Turn 1600 x 1000 |  | Nr | 258.9698 | 0 |  | 0 |  | 0
j | uPVC Windows, Tilt and Turn 1800 x 1000 |  | Nr | 269.3243 | 0 |  | 0 |  | 0
k | uPVC Windows, Tilt and Turn 2000 x 1000 |  | Nr | 279.1913 | 0 |  | 0 |  | 0
l | uPVC Windows, Tilt and Turn 1200 x 2000 |  | Nr | 320.1217 | 0 |  | 0 |  | 0
m | uPVC Windows, Tilt and Turn 1400 x 2000 |  | Nr | 341.1915 | 0 |  | 0 |  | 0
n | uPVC Windows, Tilt and Turn 1600 x 2000 |  | Nr | 364.2892 | 0 |  | 0 |  | 0
o | uPVC Windows, Tilt and Turn 1800 x 2000 |  | Nr | 390.5362 | 0 |  | 0 |  | 0
p | uPVC Windows, Tilt and Turn 2000 x 2000 |  | Nr | 418.3433 | 0 |  | 0 |  | 0
q | uPVC Windows, Tilt and Turn 2200 x 2000 |  | Nr | 437.307 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 0 |  | 0 |  | 0
TIMBER WINDOWS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
| Carry out conditions survey including photographic record to property before works commence |  | Nr | 0 | 0 |  | 0 |  | 0
| Take down or disconnect any security grilles, wires, alarms, nets, curtains and battens to facilitate removal and installation of windows; re-connect wiring and alarms and re-fix battens, nets and curtains. |  | Prop | 0 | 0 |  | 0 |  | 0
CVI Nr
063 | Communal Windows | [6 empty] | 100% | 3141.53
070 | Communal Repairs | [6 empty] | 100% | 3265.27
085 | Timbercare Repairs | [6 empty] | 100% | 1655.05
086 | Timbercare Repairs | [6 empty] | 100% | 6808.56
087 | Timbercare Repairs | [6 empty] | 100% | 6232.47
102 | Collar repairs to windows | [6 empty] | 100% | 1533
114 | Cill Repairs | [6 empty] | 100% | 1416
122 | Cill Repairs | [6 empty] | 100% | 2478
139 | Window Repairs | [6 empty] | 100% | 4043.645
140 | Window Repairs | [6 empty] | 100% | 5653.88
192 | Remove and refit window grilles | [6 empty] | 100% | 540
200 | Mastic works | [6 empty] | 100% | 861.648
293 | Window. | [6 empty] | 100% | 123.87
a | Timber Windows, fixed pane 400 x 600 |  | Nr | 117.78 | 0 |  | 0 |  | 0
b | Timber Windows, fixed pane 400 x 800 |  | Nr | 123.162 | 0 |  | 0 |  | 0
c | Timber Windows, fixed pane 600 x 800 |  | Nr | 132.7463 | 0 |  | 0 |  | 0
d | Timber Windows, fixed pane 600 x 1000 |  | Nr | 155.3175 | 0 |  | 0 |  | 0
e | Timber Windows, fixed pane 800 x 1000 |  | Nr | 168.0412 | 0 |  | 0 |  | 0
f | Timber Windows, fixed pane 1000 x 1000 |  | Nr | 180.726 | 0 |  | 0 |  | 0
g | Timber Windows, fixed pane 1200 x 1000 |  | Nr | 193.5765 | 0 |  | 0 |  | 0
h | Timber Windows, fixed pane 1400 x 1000 |  | Nr | 206.271 | 0 |  | 0 |  | 0
i | Timber Windows, fixed pane 1600 x 1000 |  | Nr | 213.9832 | 0 |  | 0 |  | 0
j | Timber Windows, fixed pane 1800 x 1000 |  | Nr | 225.1275 | 0 |  | 0 |  | 0
k | Timber Windows, fixed pane 2000 x 1000 |  | Nr | 236.2035 | 0 |  | 0 |  | 0
l | Timber Windows, fixed pane 1200 x 2000 |  | Nr | 252.018 | 0 |  | 0 |  | 0
m | Timber Windows, fixed pane 1400 x 2000 |  | Nr | 272.7757 | 0 |  | 0 |  | 0
n | Timber Windows, fixed pane 1600 x 2000 |  | Nr | 335.0295 | 0 |  | 0 |  | 0
o | Timber Windows, fixed pane 1800 x 2000 |  | Nr | 355.6898 | 0 |  | 0 |  | 0
p | Timber Windows, fixed pane 2000 x 2000 |  | Nr | 376.3403 | 0 |  | 0 |  | 0
q | Timber Windows, fixed pane 2200 x 2000 |  | Nr | 397.1565 | 0
a | Timber Windows, Casement 400 x 600 |  | Nr | 177.885 | 0 |  | 0 |  | 0
b | Timber Windows, Casement 400 x 800 |  | Nr | 187.326 | 0 |  | 0 |  | 0
c | Timber Windows, Casement 600 x 800 |  | Nr | 199.53 | 0 |  | 0 |  | 0
d | Timber Windows, Casement 600 x 1000 |  | Nr | 218.637 | 0 |  | 0 |  | 0
e | Timber Windows, Casement 800 x 1000 |  | Nr | 232.029 | 0 |  | 0 |  | 0
f | Timber Windows, Casement 1000 x 1000 |  | Nr | 285.57 | 0 |  | 0 |  | 0
g | Timber Windows, Casement 1200 x 1000 |  | Nr | 296.154 | 0 |  | 0 |  | 0
h | Timber Windows, Casement 1400 x 1000 |  | Nr | 359.73 | 0 |  | 0 |  | 0
i | Timber Windows, Casement 1600 x 1000 |  | Nr | 433.809 | 0 |  | 0 |  | 0
j | Timber Windows, Casement 1800 x 1000 |  | Nr | 445.455 | 0 |  | 0 |  | 0
k | Timber Windows, Casement 2000 x 1000 |  | Nr | 479.313 | 0 |  | 0 |  | 0
l | Timber Windows, Casement 1200 x 2000 |  | Nr | 505.251 | 0 |  | 0 |  | 0
m | Timber Windows, Casement 1400 x 2000 |  | Nr | 531.171 | 0 |  | 0 |  | 0
n | Timber Windows, Casement 1600 x 2000 |  | Nr | 548.1 | 0 |  | 0 |  | 0
o | Timber Windows, Casement 1800 x 2000 |  | Nr | 565.029 | 0 |  | 0 |  | 0
p | Timber Windows, Casement 2000 x 2000 |  | Nr | 592.317 | 0 |  | 0 |  | 0
q | Timber Windows, Casement 2200 x 2000 |  | Nr | 608.625 | 0 |  | 0 |  | 0
a | Timber Windows, Tilt and Turn 400 x 600 |  | Nr | 273.429 | 0 |  | 0 |  | 0
b | Timber Windows, Tilt and Turn 400 x 800 |  | Nr | 289.224 | 0 |  | 0 |  | 0
c | Timber Windows, Tilt and Turn 600 x 800 |  | Nr | 309.879 | 0 |  | 0 |  | 0
d | Timber Windows, Tilt and Turn 600 x 1000 |  | Nr | 322.497 | 0 |  | 0 |  | 0
e | Timber Windows, Tilt and Turn 800 x 1000 |  | Nr | 333.711 | 0 |  | 0 |  | 0
f | Timber Windows, Tilt and Turn 1000 x 1000 |  | Nr | 347.742 | 0 |  | 0 |  | 0
g | Timber Windows, Tilt and Turn 1200 x 1000 |  | Nr | 479.736 | 0 |  | 0 |  | 0
h | Timber Windows, Tilt and Turn 1400 x 1000 |  | Nr | 493.596 | 0 |  | 0 |  | 0
i | Timber Windows, Tilt and Turn 1600 x 1000 |  | Nr | 508.608 | 0 |  | 0 |  | 0
j | Timber Windows, Tilt and Turn 1800 x 1000 |  | Nr | 521.514 | 0 |  | 0 |  | 0
k | Timber Windows, Tilt and Turn 2000 x 1000 |  | Nr | 549.783 | 0 |  | 0 |  | 0
l | Timber Windows, Tilt and Turn 1200 x 2000 |  | Nr | 577.008 | 0 |  | 0 |  | 0
m | Timber Windows, Tilt and Turn 1400 x 2000 |  | Nr | 599.832 | 0 |  | 0 |  | 0
n | Timber Windows, Tilt and Turn 1600 x 2000 |  | Nr | 623.016 | 0 |  | 0 |  | 0
o | Timber Windows, Tilt and Turn 1800 x 2000 |  | Nr | 645.876 | 0 |  | 0 |  | 0
p | Timber Windows, Tilt and Turn 2000 x 2000 |  | Nr | 683.118 | 0 |  | 0 |  | 0
q | Timber Windows, Tilt and Turn 2200 x 2000 |  | Nr | 705.816 | 0 |  | 0 |  | 0
a | Timber Windows, Vertical Sliders 400 x 600 |  | Nr | 361.53 | 0 |  | 0 |  | 0
b | Timber Windows, Vertical Sliders 400 x 800 |  | Nr | 377.325 | 0 |  | 0 |  | 0
c | Timber Windows, Vertical Sliders 600 x 800 |  | Nr | 397.512 | 0 |  | 0 |  | 0
d | Timber Windows, Vertical Sliders 600 x 1000 |  | Nr | 410.67 | 0 |  | 0 |  | 0
e | Timber Windows, Vertical Sliders 800 x 1000 |  | Nr | 421.2 | 0 |  | 0 |  | 0
f | Timber Windows, Vertical Sliders 1000 x 1000 |  | Nr | 435.24 | 0 |  | 0 |  | 0
g | Timber Windows, Vertical Sliders 1200 x 1000 |  | Nr | 566.865 | 0 |  | 0 |  | 0
h | Timber Windows, Vertical Sliders 1400 x 1000 |  | Nr | 580.905 | 0 |  | 0 |  | 0
i | Timber Windows, Vertical Sliders 1600 x 1000 |  | Nr | 634.125 | 0 |  | 0 |  | 0
j | Timber Windows, Vertical Sliders 1800 x 1000 |  | Nr | 618.642 | 0 |  | 0 |  | 0
k | Timber Windows, Vertical Sliders 2000 x 1000 |  | Nr | 713.421 | 0 |  | 0 |  | 0
l | Timber Windows, Vertical Sliders 1200 x 2000 |  | Nr | 793.548 | 0 |  | 0 |  | 0
m | Timber Windows, Vertical Sliders 1400 x 2000 |  | Nr | 877.563 | 0 |  | 0 |  | 0
n | Timber Windows, Vertical Sliders 1600 x 2000 |  | Nr | 1053.063 | 0 |  | 0 |  | 0
o | Timber Windows, Vertical Sliders 1800 x 2000 |  | Nr | 1140.75 | 0 |  | 0 |  | 0
p | Timber Windows, Vertical Sliders 2000 x 2000 |  | Nr | 1228.5 | 0 |  | 0 |  | 0
q | Timber Windows, Vertical Sliders 2200 x 2000 |  | Nr | 1316.25 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 0 |  | 0 |  | 37752.923
EXTRA OVER WORKS FOR WINDOW INSTALLATIONS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
1 | Glass
a | 2 x 4mm toughened safety glass or 24mm 'Plastisol' panel |  | m² | 8.8822 | 0 |  | 0 |  | 0
b | 6.4mm laminated to outer pane |  | m² | 10.413 | 0 |  | 0 |  | 0
c | 4mm obscure |  | m² | 4.875 | 0 |  | 0 |  | 0
d | 6mm obscure |  | m² | 7.69 | 0 |  | 0 |  | 0
e | georgian bar insert |  | m² | 15.6 | 0 |  | 0 |  | 0
f | self-cleaning glass |  | m² | 14.63 | 0 |  | 0 |  | 0
2 | Cills etc
a | 95mm cill |  | m | 0.98 | 0 |  | 0 |  | 0
b | 150mm cill |  | m | 0.98 | 0 |  | 0 |  | 0
c | 180mm cill |  | m | 2.925 | 0 |  | 0 |  | 0
d | 225mm cill |  | m | 5.36 | 0 |  | 0 |  | 0
e | 16mm couplers and covers |  | m | 7.31 | 0 |  | 0 |  | 0
f | 20mm packers |  | m | 3.41 | 0 |  | 0 |  | 0
g | baypole and adaptors |  | m | 19.5 | 0 |  | 0 |  | 0
h | bay jacks |  | nr | 6.53 | 0 |  | 0 |  | 0
i | lining to box sash |  | m | 5.36 | 0 |  | 0 |  | 0
3 | Windowboards
a | 'cappit' windowboard |  | m | 6.34 | 0 |  | 0 |  | 0
b | windowboard including all mitres, end caps & intersections |  | m | 9.87 | 0 |  | 0 |  | 0
c | scrollboard |  | m | 5.85 | 0 |  | 0 |  | 0
4 | 180mm uPVC liner trim including all adhesive, mitres, end caps and intersections. |  | m | 4.88 | 0 |  | 0 |  | 0
5 | Extract Fan works
a | core drill hole through brickwork for fan |  | nr | 75 | 0 |  | 0 |  | 0
b | temporarily protect hole prior to installation of fan |  | nr | 0.5 | 0 |  | 0 |  | 0
Other
6 | Provide 2 folding-arm opener operator poles to each resident. |  | Item | 4.16 | 0 |  | 0 |  | 0
7 | 12.5 thick plasterboard, 3mm thick plaster and 2 coats of emulsion in patch repair to reveals including all preparation and beading. |  | m2 | 6 | 0 |  | 0 |  | 0
8 | 25 x 50mm curtain batten plugged and screwed to brickwork or concrete; prepare and paint with one coat primer, one undercoat and one gloss coat finish. |  | m | 0.5 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 0 |  | 0 |  | 0
DOOR INSTALLATIONS
ITEM | DESCRIPTION OF WORKS | QTY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
1.1 | Carefully take out and remove from site existing * door and frame including quadrants, architraves, keeps, plates, hinges, chains etc, taking care not to damage the internal plaster line and make good all works disturbed; Install new 'secure-by-design' door; including multi-point lock, thumb-turn cylinder, all quadrants, architraves, ironmongery, cills, threshold or 15mm wheelchair access thresholds where necessary, mastic pointing and security screw fixings.
* The resident may choose from any 1 of the 4 door (and associated frame) styles/types illustrated below with extra over cost implication being as indicated in 1A1(і) to 5(іv) below.
Front Doors ( Door & Frame )
a | Composite front door and frame*; wood-grained finished frame and laminated double glazing (where applicable), chrome ironmongery comprising 180º viewer, handle, hinge bolts, numerals, knocker, chain, internal security cowl, anti-drill feature, letterplate and perimeter draught excluder. |  | nr | 430.3163 | 0 |  | 0 |  | 0
b | Hardwood Timber front door and frame* with laminated double glazing (where applicable), chrome ironmongery comprising 180º viewer, handle, hinge bolts, numerals, knocker, chain, internal security cowl, anti-drill feature, letterplate and perimeter draught excluder. |  | nr | 640 | 0 |  | 0 |  | 0
1.2 | Front Doors Extra Overs
Composite
a | ditto but ½ hour fire rated including closer |  | nr | 306.9787 | 0 |  | 0 |  | 0
b | (і) door with fixed toplight not exceeding 400mm high |  | nr | 107.25 | 0 |  | 0 |  | 0
| (іі) ditto but ½ hour fire rated with g.w. glazing and closer |  | nr | 123.7177 | 0 |  | 0 |  | 0
c | (і) door with fixed sidelight not exceeding 450mm high |  | nr | 107.25 | 0 |  | 0 |  | 0
| (іі) ditto but ½ hour fire rated with g.w. glazing and closer |  | nr | 123.7177 | 0 |  | 0 |  | 0
d | (і) door with fixed sidelight not exceeding 450mm high and toplight not exceeding 400mm high |  | nr | 107.25 | 0 |  | 0 |  | 0
| (іі) ditto but ½ hour fire rated with g.w. glazing and closer |  | nr | 123.7177 | 0 |  | 0 |  | 0
Timber
e | ditto but ½ hour fire rated including closer |  | nr | 0 | 0 |  | 0 |  | 0
f | (і) door with fixed toplight not exceeding 400mm high |  | nr | 55 | 0 |  | 0 |  | 0
| (іі) ditto but ½ hour fire rated with g.w. glazing and closer |  | nr | 80 | 0 |  | 0 |  | 0
g | (і) door with fixed sidelight not exceeding 450mm high |  | nr | 325 | 0 |  | 0 |  | 0
| (іі) ditto but ½ hour fire rated with g.w. glazing and closer |  | nr | 410 | 0 |  | 0 |  | 0
h | (і) door with fixed sidelight not exceeding 450mm high and toplight not exceeding 400mm high |  | nr | 365 | 0 |  | 0 |  | 0
| (іі) ditto but ½ hour fire rated with g.w. glazing and closer |  | nr | 480 | 0 |  | 0 |  | 0
1.3 | *extra over cost for alternative door type as illustrated below
(a) & (e) below should be Zero being the standard/least expensive type as priced above in 1 & 2
a | Composite Flush |  | nr | 0 | 0 |  | 0 |  | 0
b | Composite 6 panel, part-glazed |  | nr | 0 | 0 |  | 0 |  | 0
c | Composite 'Carolina' |  | nr | 0 | 0 |  | 0 |  | 0
d | Composite Twin-glazed |  | nr | 0 | 0 |  | 0 |  | 0
e | Timber Flush |  | nr |  | 0 |  | 0 |  | 0
f | Timber 6 panel, part-glazed |  | nr | 20 | 0 |  | 0 |  | 0
g | Timber 'Carolina' |  | nr | 45 | 0 |  | 0 |  | 0
h | Timber Twin-glazed |  | nr | 45 | 0 |  | 0 |  | 0
2 | Rear Doors ( Door & Frame )
a | uPVC rear door and frame, half double-glazed |  | nr | 378.3 | 0 |  | 0 |  | 0
b | ditto but with fixed sidelight not exceeding 450mm wide |  | nr | 511.875 | 0 |  | 0 |  | 0
c | Hardwood Timber rear door and frame, half double-glazed |  | nr | 660 | 0 |  | 0 |  | 0
d | ditto but with fixed sidelight not exceeding 450mm wide |  | nr | 985 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 0 |  | 0 |  | 0
ROOFING WORKS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
1 | Replace fascia and soffit boards in uPVC, including preparing sub-frame, 25mm strip ventilators, all drips, trims, seals, mastic pointing and scaffolding
a | not exceeding 200mm wide |  | m | 12.1875 | 0 |  | 0 |  | 0
b | not exceeding 300mm wide |  | m | 16.0875 | 0 |  | 0 |  | 0
2 | Replace barge boards in uPVC, not exceeding 300; including preparing sub-frame, trimming of rafter ends, all drips, trims, seals, mastic pointing, making good to undercloak, pointing up in sand-cement and all scaffolding. |  | m | 17.55 | 0 |  | 0 |  | 0
3 | Strip off existing pitched roof coverings and remove from site; install new breathable felt, insulation, tanalised battens and same-weighted tiles/slates including vent tiles/slates, eaves vents, ridge tiles, hip tiles, all scaffolding and 'Ubiflex' flashings & soakers (or flashings & soakers of an equivalent specification) to stacks and abutments (all in accordance with manufacturers instructions).
a(i) | Main roof and/or rear addition roof tiles |  | m² | 29.25 | 0 |  | 0 |  | 0
(ii) | Main roof and/or rear addition roof slates |  | m² | 175 | 0 |  | 0 |  | 0
b(i) | Hip end roof tiles |  | m² | 21.177 | 0 |  | 0 |  | 0
(ii) | Hip end roof slates |  | m² | 27.885 | 0 |  | 0 |  | 0
c | Pediment (tiles/slate) |  | m² | 53.63 | 0 |  | 0 |  | 0
d(і) | 'Ubiflex' flashings and soakers (or flashings & soakers of an equivalent specification) to abutments |  | m | 34.125 | 0 |  | 0 |  | 0
(іі) | Replace lead stepped flashings and soakers to Chimney with 'Ubiflex' (or flashings & soakers of an equivalent specification); not exceeding 225mm girth; clean out groove of brickwork, wedge with lead and repoint in mastic including all necessary labours. |  | m | 39 | 0 |  | 0 |  | 0
e | Replace lead valley gutter with 'Ubiflex' (or gutters of an equivalent specification); n.e. 800mm girth; remove and refix roof tiles or slates and battens as required, including all necessary labours. |  | m | 58.5 | 0 |  | 0 |  | 0
4 | Replace roof tiles, including any scaffolding required
a | single tile |  | nr | 6.825 | 0 |  | 0 |  | 0
b | patch repair |  | m² | 43.875 | 0 |  | 0 |  | 0
c | vent tile |  | nr | 58.5 | 0 |  | 0 |  | 0
d | hip tile |  | nr | 19.5 | 0 |  | 0 |  | 0
e | ridge tile |  | nr | 19.5 | 0 |  | 0 |  | 0
5 | Overlay existing 150mm insulation with 300mm quilt insulation to comply with Part 'L'. |  | m² | 5.03 | 0 |  | 0 |  | 0
6 | Strip off existing flat roof coverings and remove from site; prepare sub-structure; install high-performance, 3 layer built-up bitumen felt roof covering including primer, self-adhesive vapour barrier, tapered insulation, skirtings, fillets, welted drips, kerbs, edge trims, outlet gully linings, waterchecks, mastic pointing to chases, expansion joints, 'Ubiflex' flashings and soakers (or flashings & soakers of an equivalent specification'); flashings to stacks and abutments; all fixed in accordance with manufacturers instructions.
a | main roof |  | m² | 92.6055 | 0 |  | 0 |  | 0
b | bay window or porch roof |  | m² | 103.6815 | 0 |  | 0 |  | 0
c | pediments |  | m² | 103.6815 | 0 |  | 0 |  | 0
d | out-house roof |  | m² | 70 | 0 |  | 0 |  | 0
e | private balconies |  | m² | 48.75 | 0 |  | 0 |  | 0
f | staircase roofs |  | m² | 70 | 0 |  | 0 |  | 0
7 | code 4 lead collar to 100 diameter pipes |  | nr | 22.5 | 0 |  | 0 |  | 0
8 | raise 2 brick thick papapet by four facings courses in 4:1:1 mortar to match existing to accommodate new roof. Allow a PC sum of £380 per 1,000 bricks. |  | m | 52.35 | 0 |  | 0 |  | 0
9 a | 20mm thick, 2 coat Asphalt, on sheathing felt, sand-rubbed, width greater than 300mm, pitch less than 10 degrees, works subsequently covered, including 100mm thick insulation fully bonded in hot bitumen with metal-lined vapour control layer. |  | m² | 73.75 | 0 |  | 0 |  | 0
b | repair existing asphalt including cutting out damaged areas, all preparation, priming and 2 coats of bitumen asphalt. |  | m² | 12 | 0 |  | 0 |  | 0
c | ditto to asphalt upstands or skirtings not exceeding 300 high. |  | m | 4.25 | 0 |  | 0 |  | 0
d | Liquid applied, non-slip coating system to existing asphalt to walkways and balconies; including preparation, primer, all kerbs, upstands, GRP trims, dressing in; all in accordance with manufacturers instructions. |  | m² | 33.735 | 0 |  | 0 |  | 0
10 | Apply 2 coats of solar paint to main & staircase roofs & balconies including all preparation and removal of any vegetation etc |  | m² | 5.5 | 0 |  | 0 |  | 0
11 | 350 x 350 x 25mm thick pedestrian tiles ('Spartan' or equivalent, approved specification) bonded in hot bitumen or PUR adhesive |  | nr | 12 | 0 |  | 0 |  | 0
12 | Install freestanding handrail system; 46.3 galvanised (to BS 729) steel guard rails including 800 x 150 x 20 thick base plates to all vertical standards at 2 metre centres, s.s. fixings, cleats and angles. |  | m | 34 | 0 |  | 0 |  | 0
13 a | Replace 19mm WBP plywood deck including taping strips to joints |  | m² | 19.72 | 0 |  | 0 |  | 0
b | Replace 50mm pre-screeded woodwool slabs with 18mm WBP plywood on treated battens, including taping strips to joints |  | m² | 18.5 | 0 |  | 0 |  | 0
14 | Replace 600 x 600 rooflight with triple-skin polycarbonate type including vented kerbs, fillets, capping, pvc trim to inner face, 19 x 150 exterior grade plywood to upstands and 3 layer waterproofing |  | nr | 522.9997 | 0 |  | 0 |  | 0
15 | Temporary roof, 3 metres high over pitched or flat with 1 metre overhang to all sides |  | m² | 23 | 0 |  | 0 |  | 0
16 | Replace pramshed roofing with single skin, 0.7mm thick, 34 deep/1000 wide box profiled, 'Plastisol' coated uPVC sheeting; including all fixings, foam filler/closure strips, waterproof sealant, flashings, preparation and any repairs to support structure and disposal of existing materials. |  | m² | 35.89 |  |  | 0 |  | 0
CVI Nr
255 | Rebed ridge tiles. | [6 empty] | 100% | 441.35
263 | Fascia Repairs. | [6 empty] | 100% | 261.24
ROOFING ITEMS NOT COVERED BY LHS
1 | Removal of Existing Roof Coverings Tiles/slates, ridges, flashing, battens and felt inc de-nailing of rafters and all other components |  | m² | 5.45 | 0 |  | 0 |  | 0
2 | Supply and install Spanish natrual slates |  | m2 | 170.92 | 0 |  | 0 |  | 0
3 | Install Redland Cambrian Slates 25 deg - 90mm lap -610 x 305. |  | m² | 77.54 | 0 |  | 0 |  | 0
4 | Supply and install new treated softwood timber batten |  | m² | 2.47 | 0 |  | 0 |  | 0
5 | Graded battens |  | m2 | 5 | 0 |  | 0 |  | 0
6 | Extra cost for Redland Felt 400 2S |  | m2 | 3.5 | 0 |  | 0 |  | 0
7 | Extra over above for increased headlap due to pitch restrictions |  | m² | 2.81 |  |  | 0 |  | 0
8 | Wet Verge, abutments & eaves |  | m | 6.85 |  |  | 0 |  | 0
9 | Dry verge, abutments & eaves |  | m | 19.94 |  |  | 0 |  | 0
10 | Install Concrete ridge & hip components to concrete or resin tiled roofs
a | Mortared vent ridge - Universal Angle. |  | m | 18.53 |  |  | 0 |  | 0
b | Dry Fix vent ridge - Universal Angle. |  | m | 31.98 |  |  | 0 |  | 0
c | Mortared /dry vent ridge - half round Angle. |  | m | 20.68 |  |  | 0 |  | 0
d | Dry Fix vent ridge - half round Angle. |  | m | 41.02 |  |  | 0 |  | 0
e | Mortared /dry vent ridge - Monoridge - Universal Angle. |  | m | 22.23 |  |  | 0 |  | 0
f | Dry Fix vent ridge - Monoridge - Universal Angle. |  | m | 37.64 |  |  | 0 |  | 0
g | Mortared /dry vent ridge - Monoridge - half round |  | m | 34.2 |  |  | 0 |  | 0
h | Dry Fix vent ridge - Monoridge - half round |  | m | 48.42 | 0 |  | 0 |  | 0
i | Mortared /dry vent ridge - third Universal Angle |  | m | 29.58 |  |  | 0 |  | 0
j | Dry Fix vent ridge - third Universal Angle |  | m | 38.21 |  |  | 0 |  | 0
k | Mortared /dry vent ridge - third round hip Angle |  | m | 28.28 |  |  | 0 |  | 0
l | Dry Fix vent ridge - third round hip Angle |  | m | 41.99 |  |  | 0 |  | 0
11 | Supply and install Inline/through ventilation tile. |  | No | 75.6 |  |  | 0 |  | 0
12 | Supply and install flexible air duct including adapting the existing ducting tu suit the vent |  | m | 45.6 |  |  | 0 |  | 0
13 | Install Redland Eaves Ventilation System |  | m | 29.5 | 0 |  | 0 |  | 0
14 | Install top edge ventilation abutment in accordance with BS 5250 |  | m | 29.5 |  |  | 0 |  | 0
15 | Raking/cutting to valleys/hips |  | m | 10.97 |  |  | 0 |  | 0
16 | Supply and install Eaves insulation |  | m | 4.93 | 0 |  | 0 |  | 0
17 | Install ridge and hip components to natural slated roofs
a | Mortared half-round clay ridge |  | m | 19.75 |  |  | 0 |  | 0
b | Dry Fix half-round clay ridge |  | m | 41.02 |  |  | 0 |  | 0
c | Mortared half-round concrete ridge |  | m | 18.47 |  |  | 0 |  | 0
d | Dry Fix half-round concrete ridge |  | m | 41.02 |  |  | 0 |  | 0
e | Mortared third-round clay ridge |  | m | 20.2 |  |  | 0 |  | 0
f | Dry Fix third-round clay ridge |  | m | 41.02 |  |  | 0 |  | 0
g | Mortared third-round concrete ridge |  | m | 19.18 |  |  | 0 |  | 0
h | Dry Fix third-round concrete ridge |  | m | 41.02 |  |  | 0 |  | 0
17 | Extra over for clipping/ double nailing to meet BS 15534
a | Double nailing individual tiles |  | m2 | 5 |  |  | 0 |  | 0
b | Clipping of plain tiles |  | m2 | 5.5 |  |  | 0 |  | 0
c | Clipping of interlocking tiles/Cambrian Slates |  | m2 | 6 |  |  | 0 |  | 0
18 | Code 5 lead covered wood ridge roll |  | m | 65.1514 |  |  | 0 |  | 0
19 | Ditto with manufactured lead replacement material |  | m | 28.0617 |  |  | 0 |  | 0
20 | Code 4 lead covered wood hip roll |  | m | 56.623 |  |  | 0 |  | 0
21 | Ditto with manufactured lead replacement material |  | m | 25.2267 |  |  | 0 |  | 0
22 | Cut & mitred hip with code 3 lead soakers |  | m | 49.6125 | 0 |  | 0 |  | 0
23 | Ditto with manufactured lead replacement material |  | m | 33.3283 |  |  | 0 |  | 0
24 | Abutments formed with lead soakers & cover flashings. | [5 empty] | 0 |  | 0
25 | Stepped horizontal brickwork - Including cutting of chase in brickwork |  | m | 45.5 |  |  | 0 |  | 0
27 | Ditto with manufactured lead replacement material |  | m | 27.3663 |  |  | 0 |  | 0
28 | Abutments formed with stepped lead flashings
29 | 33 15 - 40deg stepped horizontal brickwork 34 chased groove parallel to pitch Extra over chasing |  | m | 45.5 |  |  | 0 |  | 0
30 | Ditto with manufactured lead replacement material |  | m | 21.325 |  |  | 0 |  | 0
31 | Chased groove parallel to pitch Extra over chasing to a minimum 25mm depth |  | m | 3.815 |  |  | 0 |  | 0
32 | Lead saddle abuttments
33 | Bossed lead saddle |  | No | 28.72 | 0 |  | 0 |  | 0
34 | Leadburned saddle |  | No | 34.6008 |  |  | 0 |  | 0
35 | Ditto with manufactured lead replacement material |  | No | 20.325 |  |  | 0 |  | 0
36 | Lead Lined Valley Gutter
37 | Supply & install valley boards, prepare & install 500mm wide lead valley. |  | m | 78 | 0 |  | 0 |  | 0
39 | Supply & install Redland Dry valley ( inc. valley board ) |  | m | 68.5 |  |  | 0 |  | 0
40 | supply & install valley boards, prepare and install 500mm wide lead valley. supply & install valley boards, prepare and install 650mm x 650mm lead saddle. |  | No | 45.841 |  |  | 0 |  | 0
41 | Ditto with manufactured lead replacement material |  | No | 27.4717 |  |  | 0 |  | 0
General
42 | Cut tile and install Lead slate to external pipe up to 150mm |  | No | 53.83 | 0 |  | 0 |  | 0
43 | Replace Lead box gutter up to 1000mm wide inc T Penne joints including up stands |  | m | 197.72 |  |  | 0 |  | 0
44 | Ditto with manufactured lead replacement material |  | m | 70.7964 |  |  | 0 |  | 0
45 | Take up replace and make good flat & vertical code 5 lead covering |  | m² | 157.66 |  |  | 0 |  | 0
46 | Remove and replace lead chutes up to 1000mm girth connected to lead box gutter |  | No | 50.2795 |  |  | 0 |  | 0
47 | Ditto with manufactured lead replacement material |  | No | 43.7183 |  |  | 0 |  | 0
48 | Supply and fix tiles to vertical surfaces to include fire proofing |  | m² | 49.4512 |  |  | 0 |  | 0
49 | Racking cutting on roof coverings to valleys and hips |  | m | 11.3531 |  |  | 0 |  | 0
50 | Supply and fit galvanized steel hip iron to bottom of bedded hips |  | No | 2.757 | 0 |  | 0 |  | 0
51 | All necessary lead works to chimney stacks of 2 pots |  | No | 132.66 |  |  | 0 |  | 0
52 | All necessary lead works to chimney stacks of 4 pots |  | No | 216.604 |  |  | 0 |  | 0
53 | All necessary lead works to chimney stacks of 8 pots |  | No | 282.49 |  |  | 0 |  | 0
54 | Supply and fix lead secret gutters at all abutments up to a max 400mm girth |  | m | 44.9 |  |  | 0 |  | 0
55 | Supply and fix Redland Dry Bonding Gutter |  | m | 49.35 |  |  | 0 |  | 0
56 | Provide and fix counter battens on boarded roof. |  | m² | 2.38 |  |  | 0 |  | 0
57 | Supply and fix gas vent ridge, adaptor & blanking conversion pack excluding connection (flexi pipe) |  | No | 55.8146 |  |  | 0 |  | 0
58 | Remove and replace defective timber work 100mm x 50mm |  | m | 12.6649 |  |  | 0 |  | 0
59 | Reforming timberwork to lead roofing & gutters |  | m² | 28.8111 |  |  | 0 |  | 0
60 | Strip and replace pitched roofs on small porches or bay window roofs up to 3 m2 |  | No | 252.61 |  |  | 0 |  | 0
61 | Remove existing and supply and fix new Velux roof light up to 600 x 1000mm |  | No | 241.84 |  |  | 0 |  | 0
62 | Remove existing and supply and fix new Velux roof light up to 1600 x 1000mm |  | No | 273.28 |  |  | 0 |  | 0
63 | Form opening in existing pitched roof and supply and fix new Velux roof light up to 600 x 1000mm |  | No | 268.74 |  |  | 0 |  | 0
64 | Form opening in existing pitched roof and supply and fix new Velux roof light up to 1600 x 1000mm |  | No | 330.25 |  |  | 0 |  | 0
65 | Supply and install foil faced ne 90mm insulation board between existing rafters |  | m² | 9.32 |  |  | 0 |  | 0
66 | Pitched Roofing repairs | [5 empty] | 0 |  | 0
67 | Remove existing broken tile/s.Supply and install new/reclaimed tile to match existing. |  | No | 5.12 |  |  | 0 |  | 0
68 | Remove existing broken slate or cement fibre tile/s.Supply and install new/reclaimed slate to match existing. |  | No | 7.2431 |  |  | 0 |  | 0
69 | Remove existing broken ridge/hip tile including cement mortar bedding and dispose, supply and install new ridge/hip tile to match existing or re-use existing if not damaged, bedded on new sand & cement mortar neatly pointed. |  | No | 11.171 |  |  | 0 |  | 0
70 | Remove deteriorated cement mortar from ridge, hip tiles, valley, verges or eaves, carefully re-point with new sand & cement mortar neatly pointed |  | m | 33.5834 |  |  | 0 |  | 0
71 | Carefully remove tiles/slates & undertile felt, set aside tiles for re-use, dispose of undertile felt, supply and install new undertile felt, battens and tiles. |  | m² | 32.7449 |  |  | 0 |  | 0
72 | Remove existing lead flashing including cement morter, rake out joint, supply and install new lead flashing ne 150mm neatly pointed with either sand & cement mortar or suitable lead mastic sealant. |  | m | 20.4324 |  |  | 0 |  | 0
73 | Remove existing lead flashing including cement morter, rake out joint, supply and install new lead flashing 150-350mm neatly pointed with either sand & cement mortar or suitable lead mastic sealant. NHF SOR for 225 plus difference in material cost in 225mm and 350mm |  | m | 60.04 | 0 |  | 0 |  | 0
74 | Remove existing lead flashing including cement morter, rake out joint, supply and install new lead flashing 350-800mm neatly pointed with either sand & cement mortar or suitable lead mastic sealant. NHF SOR for 225 plus difference in material cost in 225mm and 800mm |  | m | 80.27 |  |  | 0 |  | 0
75 | Carefully clear all moss, leaves, debris etc from existing gutters, lower to ground and dispose. |  | m | 3.4285 |  |  | 0 |  | 0
76 | Carefully remove existing damaged vent tile, supply and install new vent tile |  | No | 60.6759 |  |  | 0 |  | 0
77 | Minimun charge for minor repairs to street properties, includes all necessary labour, plant, materials and removal of waste from site. |  | No | 24.3852 |  |  | 0 |  | 0
78 | Other roofing associated works | [5 empty] | 0 |  | 0
79 | Carefully remove the existing handrail and stanchions fixed to the deck. Make good deck in preperation for receiving new coverings. |  | m | 7.4488 |  |  | 0 |  | 0
80 | Install new freestanding handrail system, with stanchion feet set on a sacrificial layer of cap sheet loose laid beneath. |  | m | 38.9958 |  |  | 0 |  | 0
Fascias
81 | Replace fascia and soffit boards in uPVC, including preparing sub-frame, 25mm strip ventilators, all drips, trims, seals, mastic pointing and scaffolding
a | a. not exceeding 200mm wide |  | m | 12.1875 |  |  | 0 |  | 0
b | b. not exceeding 300mm wide |  | m | 16.0875 |  |  | 0 |  | 0
82 | Replace barge boards in uPVC, not exceeding 300; including preparing sub-frame, trimming of rafter ends, all drips, trims, seals, mastic pointing, making good to undercloak, pointing up in sand-cement |  | m | 17.55 |  |  | 0 |  | 0
83 | Prepare & fix ventilator components to pre-installed PVC-U or timber soffits - Continuous 25mm strip - within soffit |  | m | 4.6167 |  |  | 0 |  | 0
84 | Prepare & fix ventilator components to pre-installed PVC-U or timber soffits - Continuous 25mm strip - over fascia |  | m | 4.8703 |  |  | 0 |  | 0
85 | Prepare & fix ventilator components to pre-installed PVC-U or timber soffits - Circular grilles - within soffit |  | No | 3.423 |  |  | 0 |  | 0
86 | Prepare & fix ventilator components to pre-installed PVC-U or timber soffits - Rectangular grilles - within soffit. |  | No | 4.5408 |  |  | 0 |  | 0
Pitched Roof Insulation
87 | Overlay existing 150mm insulation with 300mm quilt insulation to comply with Part 'L'. |  | m² | 5.03 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 0 |  | 0 |  | 702.59 | roof
CONCRETE REPAIRS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
1 | Prepare and clean all concrete surfaces by suitable mechanical means such as abrasive blast cleaning or equivalent to ensure cement laitance and surface contaminations are removed and all blowholes and honeycombed areas are exposed. | 50 | m² | 7.63 | 381.5 | 25 | 190.75 | 100% | 190.75
#DIV/0!
2 | Carry out visual inspection & sounding/hammer survey of all concrete surfaces. | 50 | m² | 2.98 | 149 | 25 | 74.5 | 100% | 74.5 | [8 empty] | #DIV/0!
#DIV/0!
3 | Carry out cover meter survey of all concrete surfaces |  | m² | 2.98 | 0 |  | 0 |  | 0 | [8 empty] | #DIV/0!
#DIV/0!
4 | Carry out carbonation depth testing on concrete surface, including breaking out concrete, removing dust and testing with phenolphthalein solution. Allow 2 tests per property. |  | nr | 0.98 | 0 |  | 0 |  | 0 | [8 empty] | #DIV/0!
#DIV/0!
5 | Break out defective concrete to expose reinforcement; clean to bright metal and apply one coat of Sika Mono-top 610 (or mortar of an equivalent specification) to a minimum of 1mm; after the first coat has set apply a second coat as a bonding bridge and, while still wet, apply Sika Mono-top 615 (or mortar of an equivalent specification) repair mortar using a 'placing' rather than a 'rendering' technique to ensure adequate compaction; float finish; all works to be in accordance with the manufacturers instructions. | [16 empty] | #DIV/0!
#DIV/0!
A | for surfaces to an average depth not exceeding 25mm | [16 empty] | #DIV/0!
#DIV/0!
1 | Surfaces not exceeding 0.01m² | 50 | nr | 0.98 | 49 | 22 | 21.56 | 100% | 21.56 | [8 empty] | #DIV/0!
2 | Surfaces over 0.01m² but not exceeding 0.05m² | 30 | nr | 1.95 | 58.5 | 25 | 48.75 | 100% | 48.75 | [8 empty] | #DIV/0!
3 | Surfaces over 0.05m² but not exceeding 0.10m² | 25 | nr | 2.925 | 73.125 | 10 | 29.25 | 100% | 29.25 | [8 empty] | #DIV/0!
4 | Surfaces over 0.10m² but not exceeding 0.25m² | 10 | nr | 3.9 | 39 | 9 | 35.1 | 100% | 35.1 | [8 empty] | #DIV/0!
5 | Surfaces over 0.25m² but not exceeding 0.5m² | 5 | nr | 4.875 | 24.375 | 4 | 19.5 | 100% | 19.5 | [8 empty] | #DIV/0!
#DIV/0!
B | Ditto but surfaces to an average depth over 25mm but not exceeding 50mm | [16 empty] | #DIV/0!
#DIV/0!
1 | Surfaces not exceeding 0.01m² | 50 | nr | 9.75 | 487.5 | 50 | 487.5 | 100% | 487.5 | [8 empty] | #DIV/0!
2 | Surfaces over 0.01m² but not exceeding 0.05m² | 30 | nr | 14.625 | 438.75 | 30 | 438.75 | 100% | 438.75 | [8 empty] | #DIV/0!
3 | Surfaces over 0.05m² but not exceeding 0.10m² | 25 | nr | 15.6 | 390 | 25 | 390 | 100% | 390 | [8 empty] | #DIV/0!
4 | Surfaces over 0.10m² but not exceeding 0.25m² | 10 | nr | 16.575 | 165.75 | 10 | 165.75 | 100% | 165.75 | [8 empty] | #DIV/0!
5 | Surfaces over 0.25m² but not exceeding 0.5m² | 5 | nr | 19.5 | 97.5 | 5 | 97.5 | 100% | 97.5 | [8 empty] | #DIV/0!
#DIV/0!
6 | Sika MonoTop 620 (or mortar of an equivalent specification) levelling mortar, trowel applied; 2 to 5mm thick at a consumption of not less than 4.0k/m²; the maximum thickness per coat is 5mm; finish by means of a damp sponge to give an even and uniform texture to the surface, all in accordance with manufacturers instructions |  | m² | 6.7 | 0 |  | 0 |  | 0
7 | To the overall prepared, repaired and unrepaired concrete surface, brush or roller apply one coat of SikaGard 552W Aquaprimer (or mortar of an equivalent specification) at a consumption rate of not less than 0.2 ltr/m² ; after a minimum of 4 hours and when the primer is completely dry, brush, spray or roller apply 2 coats of SikaGard 550W Elastic (or mortar of an equivalent specification) at a minimum material consumption of 0.38 litres/m² per coat to achieve a minimum total dry film thickness of 400 microns; minimum wet film thickness for a two coat application should be 375 microns per coat; all works to be in accordance with manufacturers instructions |  | m² | 11.75 | 0 |  | 0 |  | 0
OR
| Apply 3 coat SikaGard 550W Elastic (or mortar of an equivalent specification) at a minimum material consumption of 0.25 litres/m² per coat to achieve a total dry film thickness of 400 microns; minimum wet film thickness for a 3 coat application should be 250 microns per coat; all works to be in accordance with manufacturers instructions. |  | m² | 11.75 | 0 |  | 0 |  | 0
|  |  |  | SECTION TOTAL | 2354 |  | 1998.91 |  | 1998.91 | conc
EXTERNAL REPIARS & DECORATIONS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
Brickwork
1 | Rake out joints in brickwork and re-point in 6:1 sand-cement mortar. | 50 | m² | 24 | 1200 | 18 | 432 | 100% | 432 | ext walls
2 a | Remove chimney pots/terminals, take down stack not exceeding 1.5m², re-build in new facing bricks to match existing; point stack including parging flue or re-fixing flue liners; re-fix flashings and pots/terminals including flaunching. |  | nr | 260 | 0 |  | 0 |  | 0 | ext walls
b | Remove chimney pots/terminals, take down stack exceeding 1.5m², re-build in new facing bricks to match existing; point stack including parging flue or re-fixing flue liners; re-fix flashings and pots/terminals including flaunching. |  | m² | 165 | 0 |  | 0 |  | 0 | ext walls
3 | Rake out & re-point brickwork to chimney stack |  | m² | 28 | 0 |  | 0 |  | 0 | ext walls
4 | Replace chimney terminal and make good flaunching |  | nr | 45 | 0 |  | 0 |  | 0 | ext walls
5 | Earthenware 'mushroom' vent to existing chimney pot and make good flaunching |  | nr | 85 | 0 |  | 0 |  | 0 | ext walls
6 | Bonded bead insulation to cavity walls; including drilling of and making good to holes. |  | m² | 4 | 0 |  | 0 |  | 0 | ext walls
CVI Nr
205 | Pointing Works | [6 empty] | 100% | 112
Extra brick work removed and rebuilt from brick arched roof gables (as per pictures sent)
Extra pointing to cover front chimney stacks.
Extra rendering and angle beads to cover work to the rear of arch gables to roof leadwork.
212 | Pointing Works | [6 empty] | 100% | 56
Extra brick work removed anf rebuilt from brick arched roof gables. (As per pictures sent)
Extra pointing to cover front chimney stacks
Extra rendering an angle beads to cover work to the rear of arch gables to roof leadwork
304 | External Walls.
| Renew soil pipe to top lift | [6 empty] | 100% | 31.44
| Renew soil pipe connections | [6 empty] | 100% | 90.58
| Renew vent soil pipe top | [6 empty] | 100% | 43.86
| Pointing to chimney stack above lead | [6 empty] | 100% | 3.66
| Render patch over exising gable | [6 empty] | 100% | 196.92
| Repoint existing stones to gable | [6 empty] | 100% | 10.98
| Brick up boiler flu | [6 empty] | 100% | 36.3575
| Render patch above boiler flu | [6 empty] | 100% | 28
| Renew donwn pipe clip to vent pipe | [6 empty] | 100% | 7.56
| Fit soil pipe vent top | [6 empty] | 100% | 18.78
321 | External Walls.
REAR
| Brick stitch | [6 empty] | 100% | 255
| Pointing LM | [6 empty] | 100% | 43.92
| Render Boiler Flue | [6 empty] | 100% | 28
| Renew down pipe | [6 empty] | 100% | 17.1
| Renew down pipe connections | [6 empty] | 100% | 18.88
| FRONT | [7 empty] | 0
| Brick stitch | [6 empty] | 100% | 435
| Pointing LM | [6 empty] | 100% | 117.12
Cladding
7 | Remove timber/board cladding, prepare sub-frame and install uPVC cladding including all drips, trims, seals, DPM, mastic pointing, fixings, accessories, edgings. |  | m² | 18 | 0 |  | 0 |  | 0 | ext walls
CVI Nr
155 | Parapet overcladding works | [6 empty] | 100% | 2714.2
Surface Finishes
8 | Hack off render, prepare and apply stabiliser and new 20mm, 2 coat 3:1 sand-cement render to low level plinths front and rear. | 25 | m² | 28 | 700 | 8 | 224 |  | 0 | ext walls
9 | Make good to defective render, prepare surface and apply 2 coats of masonry paint. | 25 | m² | 4.5 | 112.5 |  | 0 |  | 0 | ext walls
10 a | Make good to any brick or concrete surface and prepare & apply 2 coats of masonry paint. |  | m² | 4.5 | 0 |  | 0 |  | 0 | ext walls
b | ditto to previously painted cills/lintels/thresholds/brick plinths/concrete or window surrounds n.e. 300mm girth. | 460 | m | 3 | 1380 | 222 | 666 |  | 0 | ext walls
11 a | Rub down or burn off any timber surface, fill, prime, 2 undercoats and 1 gloss coat to areas exceeding 300mm wide to rear garden door. | 35 | m² | 12 | 420 | 2 | 24 |  | 0 | ext walls
b | ditto to isolated pramshed or garage door (both sides) and frame |  | m² | 12 | 0 |  | 0 |  | 0 | ext walls
c | ditto to general surfaces not exceeding 300mm girth - soffits/fascias, barge boards skirtings and windows. | 550 | m | 3 | 1650 | 550 | 1650 |  | 0 | ext walls
12 a | Wire brush, zinc primer, 2 undercoats and 1 coat zinc phosphate paint ('Hammerite' or equivalent specification) to previously painted metal surfaces. |  | m² | 10 | 0 |  | 0 |  | 0 | ext walls
b | ditto to general surfaces not exceeding 300mm girth, including gutters/downpipes/svp's/rails/ducting. |  | m | 3 | 0 |  | 0 |  | 0 | ext walls
CVI Nr
167 | Decorations.
Clean and Prep down pipes to rear and front of the building including undercoat gloss in black finish.
| Rear of building | [6 empty] | 100% | 180
| Front of building | [6 empty] | 100% | 39
Please note downpipes to the rear of the building also tee off from the main pipe and extend into the kitchen and bathroom aeam which is making this a higher (LM) figure
224 | Parapet rendering works | [6 empty] | 0% | 0 | 417.21
247 | Low level render works. | [6 empty] | 100% | 36
| Miscellaneous | [8 empty] | ext walls
13 | Steam clean to thoroughly clean off grease, dirt etc to staircase landings and floor areas including treads and risers. |  | m² | 3 | 0 |  | 0 |  | 0 | ext walls
14 | Replace pramshed door & frame including all ironmongery. |  | nr | 125 | 0 |  | 0 |  | 0 | ext walls
15 | Take down, store and afterwards re-fix sign. |  | nr | 10 | 0 |  | 0 |  | 0 | ext walls
16 | Remove and subsequently re-fix satellite dish. | 3 | nr | 90 | 270 | 1 | 90 | 100% | 90 | tv
17 | Remove and subsequently re-fix TV aerial. | 2 | nr | 90 | 180 |  | 0 |  | 0 | tv
18 | Arrange for BT to replace telephone cable and line, including all fixings, to one property. |  | nr | 98 | 0 |  | 0 |  | 0 | ext walls
19 | Isolate, unclip, re-fix electrical cabling to facilitate other works in isolated areas. | 10 | nr | 10 | 100 | 7 | 70 | 0% | 0 | 70
20 | Remove water based staining to brickwork | 90 | m² | 7.5 | 675 | 75 | 562.5 | 0% | 0 | 562.5
|  |  |  | SECTION TOTAL | 6687.5 |  | 3718.5 |  | 5042.3575
ADDITIONAL ITEMS (not included in LHS document)
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
1 | Supply and fit smoke/heat detectors to communal areas |  | nr | 94.145 | 0 |  | 0 |  | 0
CVI Nr
185 | Rake out & repoint chimney stack | [6 empty] | 100% | 336
185 | Rake out & repoint wall | [6 empty] | 100% | 655.14
185 | External woodwork paint not exceeding 300mm | [6 empty] | 100% | 1167
185 | Render repairs to window frames and reveals | [6 empty] | 0% | 530.6
185 | Internal / Communal woodwork paint not exceeding 300mm | [6 empty] | 0% | 153
185 | Cut out defective bricks and stitch in new to match No | [6 empty] | 100% | 390
4 | Timbercare repairs to box sash timber windows including overhauling renew staff and parting beads, take out sashes and later rehang on appropriate sized new undyed plaited nylon sash cords, renew pocket pieces, wedge and cramp loose sash frames, oil pulleys, ease and adjust sashes, remove, refit or renew ironmongery, rake out and renew defective putty and mastic, touch up decorations externally and internally to match existing and remove waste and debris. |  | nr | 150 | 0 |  | 0 |  | 0
5 | Overhaul external door and frame with fanlight complete, remove all ironmongery, piece out door, frame, and architraves where iron- mongery removed make good any damage, defects to timber, resecure glazing beads, and architraves if loose, rehang door on one and a half pair of butt hinges, ease and adjust, reglaze fanlight as necessary to BS 6262, touch up decorations to match existing and remove waste and debris. | 1 | nr | 111.82 | 111.82 |  | 0 |  | 0 | door
6 | External wall: Make safe to existing and supply and lay new facing bricks in one brick wall bedded and pointed in cement lime mortar (1:1:6) as the work proceeds. |  | sm | 173.3 | 0 |  | 0 |  | 0
| Damp works: Investigate and rectify cause of damp to RHS of building at low level including any remedial measures such as warerproof render etc. |  | Ps
7 | Stucco detailing to portico and window surrounds: Apply 12mm cement and sand render (1:3) with waterproofing agent to external walls including ‘Decorative’ finish, dub out as necessary with cement and sand and all labours and remove waste and debris |  | sm | 41.24 | 0 |  | 0 |  | 0
8 | Dormer: Remove existing and replace, including all associated works |  | Ps | 900 | 0 |  | 0 |  | 0
10 | Cut out defective brick and stitch in to match existing | 120 | Nr | 15 | 1800 | 120 | 1800 | 100% | 1800 | ext walls
11 | Supply and fit guard rail in steel to rear garden to prevent falls between levels . Fixed to ground. |  | Ps | 1500 | 0 |  | 0 |  | 0
12 | Supply anf fit handrail in steel to rear steps to prevent falls on stairs hazard (HHSRS). Fixed to wall |  | Ps | 1500 | 0 |  | 0 |  | 0
13 | Rebuild steps to front in sandstone to match existing profile. Allow for covering in asphalt |  | Ps | 5000
14 | Paving slabs: Lift any size existing precast concrete paving flag, fill and compact hardcore to soft spots and rebed existing flag on 25mm bed of cement mortar (1:4) and point up joints. |  | nr | 8.56 | 0 |  | 0 |  | 0
15 | Paving slabs: Lift remnants of existing 50mm standard size precast concrete paving flag, remove waste and debris, fill and compact hardcore to soft spots and lay new flag on 25mm bed of cement mortar (1:4), point up joints including any additional cutting and fitting to suit. |  | nr | 12.54 | 0 |  | 0 |  | 0
16 | Scaffolding: Allow for bridge beam over rear extension | 1 | Ps | 750 | 750 |  | 0 |  | 0 | scaff
17 | Design drawing for scaffolding. | 1 | Ps | 900 | 900 |  | 0 |  | 0 | scaff
18 | Asbestos: Allowance for a refurbishment and demolition survey | 1 | Item | 250 | 250 | 1 | 250 | 100% | 250 | survey
19 | Supply and install helibar fixings | 20 | Nr | 92.46 | 1849.2 | 5 | 462.3 | 100% | 462.3 | conc
20 | Install new lead roof covering |  | m2 | 157.57 | 0 |  | 0 |  | 0
21 | Install lead flashing to dormer window |  | m2 | 181.8 | 0 |  | 0 |  | 0
22 | Install lead flashing to roof parapet |  | Lm | 75.4 | 0 |  | 0 |  | 0
23 | Handball scaffolding tube, fixings etc through terraced property or over back garden path way to rear of property. | 1 | Item | 750 | 750 | 1 | 750 | 0% | 0 | 750
24 | Provisional Sum for FRA works to communal area. Includes for (flooring, electrics, fire doors, smoke detectors, fire stopping and decs) to measured on a property by property basis. |  | Item | 6000 | 0 |  | 0
25 | Additional extra over cost to allow for arched window heads. |  | Ps | 500 | 0 |  | 0 |  | 0
26 | Extra over allowance to double board and poly bottom lift of scaffolding. | 30 | m | 8 | 240 | 30 | 240 | 100% | 240 | scaff
27 | Remove rubbish away from site as no skip could be sited, man and van cost. | 1 | Item | 2134.42 | 2134.42 |  | 0 |  | 0 | scaff
28 | Supply and install french doors including fan lights |  | Ps | 2500 | 0 |  | 0 |  | 0
29 | Ladder access hatches | 6 | Nr | 13.37 |  |  | 0 |  | 0 | scaff
|  |  |  | SECTION TOTAL | 8785.44 |  | 3502.3 |  | 5984.04
ADDITIONAL ITEMS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
1 | Additional internal handrails required to scaffold | 1 | Item | 495 | 495 | 1 | 495 | 100% | 495 | scaff
2 | Pointing | 70 | Lm | 3.66 | 256.2 | 70 | 256.2 | 100% | 256.2 | ext walls
3 | Allowance for extra over cost for fire retardent debris netting. | 300 | m2 | 4.75 | 1425 | 232 | 1102 |  | 0 | scaff
4 | Adapt scaffolding to allow asbestos survey to be undertaken to roof. | 1 | Item | 500 | 500 | 1 | 500 | 100% | 500 | scaff
5 | 423005 - Render Repairs:Renew rendered door or window frame reveal complete including hack off external finish, remake arris and rerender including any dubbing out and waterproofing agent and make good applied finishes and and remove waste and debris. | 40 | Lm | 15.16 | 606.4 | 40 | 606.4 | 100% | 606.4 | ext dec
6 | 315031 - Cill:Cut out and splice in new section over 300mm long any size or profile of preservative hardwood cill to match existing frame, plugged to brickwork, and pointed with sealant, make good plasterwork and decorate to match existing and remove waste and debris. | 30 | Lm | 54.93 |  |  | 0 |  | 0 | window
7 | 315015 - Window:Renew softwood parting bead to box sash window complete and decorate to match existing and remove waste and debris. | 40 | Lm | 9.49 |  |  | 0 |  | 0 | window
8 | Renew putty | 200 | Lm | 4.67 |  |  | 0 |  | 0 | window
9 | 515013 - Pane:Reglaze single pane in 6mm clear or obscure glass, upto 1.00sm, hack out and glaze with putty, sprigs, clips or beads at any level, touch up decoration to match existing, and remove waste and debris. | 5 | Nr | 103.4 |  |  | 0 |  | 0 | window
10 | Mastic to windows and doors. | 80 | Lm | 6.19 |  |  | 0 |  | 0 | window
11 | Draft Excluder to windows and doors. | 200 | Lm | 7.04 |  |  | 0 |  | 0 | window
12 | Cement Fillet around top of chimney stack. | 119 | Lm | 25 | 2975 | 13 | 325 | 100% | 325 | ext walls
13 | Building Control |  | Item | 445.4 | 0 |  | 0 |  | 0 | survey
14 | Movement of material and rubbish to required areas |  | Item | 150 | 0 |  | 0 |  | 0 | ext walls
15 | Provisional Sum for asbestos removal | 1 | Nr | 5000 | 5000 |  | 0 |  | 0 | asbestos
16 | Provisional Sum for structrucal engineer report | 1 | Nr | 850 | 850 |  | 0 |  | 0 | survey
17 | Provisional Sum to replace decorative brick features to front elevation | 1 | Nr | 1500 | 1500 |  | 0 |  | 0 | ext dec
18 | Provisional Sum to replace 2nr timber sash windows. | 2 | Nr | 1800 |  |  | 0 |  | 0 | window
19 | Provisional temporary roof tarpaulins when removing roof tiles. |  | item | 675 | 0 |  | 0 |  | 0 | roof
20 | Extra cost for slate and half material |  | Lm | 4.5 | 0 |  | 0 |  | 0 | roof
21 | Extra cost for double slate material |  | Lm | 9.75 | 0 |  | 0 |  | 0 | roof
22 | 315105 - TIMBER:EPOXY REPAIR NE 10MM:OVER 300MM | 2 | Nr | 41.52 | 83.04 |  | 0 |  | 0 | window
23 | 315107 - TIMBER:EPOXY REPAIR NE 10MM:NE 300MM | 2 | Nr | 29.16 | 58.32 |  | 0 |  | 0 | window
24 | 315109 - TIMBER:EPOXY REPAIR NE 25MM:NE 300MM | 2 | Nr | 37.85 | 75.7 |  | 0 |  | 0 | window
25 | 315111 - TIMBER:EPOXY REPAIR NE 50MM:NE 300MM | 2 | Nr | 31.33 | 62.66 |  | 0 |  | 0 | window
26 | 315113 - TIMBER:EPOXY REPAIR NE 75MM:NE 300MM | 2 | Nr | 34.95 | 69.9 |  | 0 |  | 0 | window
27 | 303009 - SOFFIT/FASCIA:RENEW IN PLYWOOD NE 450MM |  | M | 34.56 |  |  | 0 |  | 0 | roof
28 | 315019 - WINDOW:RENEW SET OF SASH CORDS | 30 | Nr | 23.86 |  |  | 0 |  | 0 | window
29 | 315051 - WINDOW:OVERHAUL SASH | 35 | Nr | 48.08 |  |  | 0 |  | 0 | window
30 | Provisional allowance to undertake flunching works chimney. | 1 | Item | 500 | 500 |  | 0 |  | 0 | roof
31 | Renew windows as per submitted quotation. | 1 | Item | 23134.75 | 23134.75 |  | 0 |  | 0 | window
CVI Nr
314 | Plumbing | [6 empty] | 100% | 16.8
Written Instructions Leasehold
| Included to Replace Communal FED to 74, 76, 78, 84, 88, 92, 94 and 96. | [6 empty] | 100% | 3860.75
| Lead Paint Surveys 74, 76, 78, 84, 88, 92, 94 and 96. | [6 empty] | 100% | 150
| Additional Instruction to undertake high pressure jetting works to 88 Bedford Road. | [6 empty] | 100% | 80
|  |  |  | SECTION TOTAL | 37591.97 |  | 3284.6 |  | 6290.15
INTERNAL COMMUNAL WORKS
ITEM | DESCRIPTION OF WORKS | QUANTITY | UNIT | RATE | VALUE | Rescope Qty | Rescope Value | Claim % | Valuation Claim
1 | 435119 - SEALER:APPLY ONE COAT TO WALLS AND CEILINGS | 270 | M2 | 4.99 | 1347.3 | 110 | 548.9 | 100% | 548.9 | comm decs
2 | 411121 WALL HACK REPLASTER DUB OUT IN PATCH | 5 | No | 48.97 | 244.85 | 5 | 244.85 | 100% | 244.85 | comm decs
3 | 4803AB - WALLS:ANTI-GRAFFITI FLAME RETARDENT COATINGS | 225 | M2 | 32.89 | 7400.25 |  | 0 |  | 0 | comm decs
4 | FIRE UPGRADE COATING:PLASTERED SOFFIT – 3 COAT | 21.5 | M2 | 24.4 | 524.6 | 21.5 | 524.6 | 100% | 524.6 | comm decs
5 | FIRE UPGRADE COATING: PAINTED PLASTER WALLS – 3 CT | 88 | M2 | 22.53 | 1982.64 | 88 | 1982.64 | 100% | 1982.64 | comm decs
6 | 436203 - SKIRTINGS & DOOR FRAME | 65 | lm | 6.76 | 439.4 |  | 0 |  | 0 | comm decs
7 | 436207 - DOOR:PREPARE PRIME PAINT 2 GLOSS METAL GLAZED | 10 | Item | 74.31 | 743.1 |  | 0 |  | 0 | comm decs
8 | 436203 - HANDRAIL AND SPINDLES, BALUSTRADES | 250 | lm | 3 | 750 | 250 | 750 | 100% | 750 | comm decs
9 | 432507 - SHEET FLOORING:LAY NEW VINYL AND SUB-BASE | 60 | M2 | 44.73 | 2683.8 | 33 | 1476.09 | 100% | 1476.09 | comm decs
10 | 432903 - NOSING:SUPPLY AND FIX NOSING TO STEP | 65 | Item | 41.37 | 2689.05 | 36 | 1489.32 | 100% | 1489.32 | comm decs
11 | 881001 - EMERGENCY LIGHTING:RENEW SELF CONTAINED FITTING | 4 | Nr | 68.96 | 275.84 |  | 0 |  | 0 | FRA
12 | 881003 - EMERGENCY LIGHTING:RENEW EXIT SIGN | 2 | Nr | 96.2 | 192.4 |  | 0 |  | 0 | FRA
13 | 872015 - SMOKE DETECTORS:INSTALL OPTICAL IONISATION SYSTEM | 4 | Nr | 104.54 | 418.16 |  | 0 |  | 0 | FRA
14 | MAN - Radio interlink call point with smoke detector | 4 | Item | 105 | 420 |  | 0 |  | 0 | comm decs
15 | Small access tower allowance | 1 | Item | 250 | 250 | 1 | 250 | 0% | 0 | 250
16 | 415013 - PLASTER REPAIR:REPAIR CRACK TO WALL OR CEILING | 30 | Nr | 9.12 | 273.6 |  | 0 |  | 0 | comm decs
17 | Decorate windows / loft hatch | 10 | Lm | 3 | 30 |  | 0 |  | 0 | comm decs
18 | Decorate windows / loft hatch | 1 | m2 | 4.5 | 4.5 |  | 0 |  | 0 | comm decs
19 | 315107 - TIMBER:EPOXY REPAIR NE 10MM:NE 300MM | 15 | no | 29.16 | [5 empty] | comm decs
20 | 315031 - Cill:Cut out and splice in new section over 300mm long any size or profile of preservative hardwood cill to match existing frame, plugged to brickwork, and pointed with sealant, make good plasterwork and decorate to match existing and remove waste and debris. | 15 | Lm | 54.93 | [5 empty] | comm decs
21 | Provisional Sum to undertake any unforeseen eletrical repairs | 1 | item | 500 | 500 |  | 0 |  | 0 | comm decs
22 | Remove carpet and dispose from site | 1 | Item | 500 | 500 | 1 | 500 | 100% | 500 | comm decs
23 | Additional brickwork repairs (PROV) |  | item |  | 5000 |  | 0 |  | 0 | comm decs
24 | Contingency |  |  |  | 2712.036 |  | 0 |  | 0 | cont
|  |  |  | SECTION TOTAL | 29381.526 |  | 7766.4 |  | 7516.4
|  |  |  | TOTAL WORKS COST | 94016.456 |  | 26101.51 |  | 69434.3005
[11 empty] | Scaff | 4977.8
[11 empty] | rainwater | 404.13
[11 empty] | roof | 702.59
[11 empty] | conc | 2461.21 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | ext dec | 606.4 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | door | 0 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | ext walls | 2813.2 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | survey | 250 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | window | 0 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | asbestos | 0 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | comm decs | 7516.4 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | FRA | 0 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | tv | 90 |  | 0 | 0 | 0 | #DIV/0!
[11 empty] | cont | 0 |  | 0 | 0 | 0 | #DIV/0!
[12 empty] | 19821.73 | 74194.726 | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0 | #DIV/0!
[14 empty] | 0 | 0 | 0