## New Office
| New Office |  |  |  |  | GIFA
| SW2 Enterprise Centre |  |  |  |  | 8447
[8 empty] | CAT B |  |  |  | Furniture
| Description | Quantity | Unit | Rate | Total |  |  | Quant | Unit | Rate | Total
Site Preparation
| Demolition and clearance of existing buildings on site | 5100 | m3 | 40 | 204000
0
| Substructure |  |  |  | 0
| Allowance for Piled foundations | 1910 | m2 | 295 | 563450
| Reinforced concrete ground slab | 1910 | m2 | 60 | 114600
| Excavation and disposal to basement area | 1639.9558 | m3 | 30 | 49198.6726
| Basement Retaining Walls; tanked | 240.6883 | m2 | 360 | 86647.7733
| Basement Structural Walls | 51.4575 | m2 | 255 | 13121.6599
| Basement Slab - reinforced concrete | 410 | m2 | 80 | 32800
| Superstructure |  |  |  | 0
0
| Frame |  |  |  | 0
| Reinforced Concrete Core | 2262 | m2 | 240 | 542880
| Upper Floors. |  |  |  | 0
| Reinforced Concrete Frame to upper floors; 7.5m spans | 9990 | m2 | 150 | 1498500
| Reinforced Concrete Frame to upper floors | 9990 | m2 | 10 | 99900
0
0
| Roof |  |  |  | 0
| Roof structure | 1640 | m2 | 115 | 188600
| Flat roof coverings; specification tbc | 652.3822 | m2 | 75 | 48928.6635
| Green roof; specification tbc | 987.6178 | m2 | 200 | 197523.5641
Atrium
| Steel structure | 1620 | m2 | 220 | 356400
| Roof | 275 | m2 | 820 | 225500
0
| Stairs |  |  |  | 0
| Precast concrete reinforced staircase including mild steel balustrades; Stair treads and risers in heavy contract carpet tiles; 1nr @ 7 Storeys; 1 nr @ 6 storeys; 1nr @ 5 storeys | 3 | nr | 30000 | 90000
0
| External Walls |  |  |  | 0
| Cavity wall; facing brick outer skin ; insulation; standard weight block inner skin | 210.3373 | m2 | 180 | 37860.7142
| Recessed perforated terracotta panels | 2297.7 | m2 | 340 | 781218
| Recessed double glazed panels (shop window) | 262 | m2 | 820 | 214840
| Allowance for Concrete elevational enhancement detail | 1 | item | 10000 | 10000
0
| Windows and External Doors |  |  |  | 0
| Curtain walling with terracotta projecting fins for solar shading | 3696.3 | m2 | 850 | 3141855
| Office entrance doors; automated glazed double leaf | 3 | nr | 9000 | 27000
0
| Internal Walls |  |  |  | 0
| Dense aggregate block partitions 140mm thick | 998.0685 | m2 | 75 | 74855.1352
| Metal stud and board partition 73mm partition; 48mm studs and channels; 1 layer of 12.5mm Gyproc wall board each side | 107.7914 | m2 | 50 | 5389.5697
0
| Internal Doors |  |  |  | 0
| Single leaf; solid core flush doors with concealed lippings to all edges timber frame and architrave to match | 109 | nr | 300 | 32700 |  |  | 54 | nr | 300 | 16200
| Double leaf; solid core flush doors with concealed lippings to all edges timber frame and architrave to match | 4 | nr | 700 | 2800 |  |  | 2 | nr | 700 | 1400
| Double leaf riser cupboard; solid core flush doors with concealed lippings to all edges timber frame and architrave to match | 21 | nr | 700 | 14700
0
| Internal finishes |  |  |  | 0
0
| Wall Finishes |  |  |  | 0
| Vinyl matt emulsion paint to skimmed plasterboard | 1105.8599 | m2 | 7 | 7741.019
| Extra over allowance for moisture resistant plasterboard | 0 | m2 | 10 | 0
| Wall tile 200 x 100 x 6.5mm; tiled in brick bond pattern | 0 | m2 | 45 | 0
| Painted exposed wall to plant room | 165 | m2 | 6 | 990
| Painted exposed walls to basement | 292.1457 | m2 | 6 | 1752.8745
0
| Floor Finishes |  |  |  | 0
| Floor screed and insulation | 10400 | m2 | 22 | 228800
| Raised Access Floors to office area | 10400 | m2 | 48 | 499200
| Allowance for unspecified floor finish to office area | 9990 | m2 | 45 | 449550 |  |  | 9990 | m2 | 45 | 449550
| Floor tile 300 x 300 x 8.5mm tile (toilets) | 0 | m2 | 40 | 0
| Heavy contract carpet tiles (circulation area) | 0 | m2 | 30 | 0
| Skirting boards; 100mm MDF skirting; Dulux eggshell white | 0 | m | 15 | 0
| Painted concrete to plant room floor | 410 | m2 | 6 | 2460
| Allowance for Mat wells | 1 | item | 1500 | 1500
| Ceiling Finishes |  |  |  | 0
| Paint to exposed soffit | 10400 | m2 | 27 | 280800
| Spray to basement ceiling | 410 | m2 | 4 | 1640
0
| Fittings and furnishings |  |  |  | 0
| Kitchen units; semi gloss; with Bosch appliances and S/S Sink | 1 | nr | 5800 | 5800 |  |  | 1 | nr | 5800 | 5800
| Tea Points | 10 | nr | 3000 | 30000 |  |  | 10 | nr | 3000 | 30000
| Allowance for directional signage | 2 | item | 5000 | 10000 |  |  | 2 | Item | 5000 | 10000
| Cycle storage | 50 | nr | 200 | 10000 |  |  | 50 | nr | 200 | 10000
| Toilet cubicles specification tbc | 69 | nr | 1200 | 82800
| IPS panels for toilets | 0 | m2 | 100 | 0
| Mirrors | 1 | item | 12000 | 12000
| All the desks etc on the ground floor - customer service section | 1 | item | 85000 | 85000 |  |  | 1 | Item | 85000 | 85000
| Allowance for extra fittings to disabled toilets | 10 | nr | 1500 | 15000
| Allownance for furniture fit out to cat B | 1 | item | 2130000 | 2130000 | [6 empty] | 2130000
| Services |  |  |  | 0
| Sanitary appliances |  |  |  | 0
0
| WCs; Unspecified | 0 | nr | 350 | 0
| Wash hand Basins; unspecified | 0 | nr | 250 | 0
| Urinals; unspecified | 0 | nr | 300 | 0
| Hand dryers | 0 | nr | 500 | 0
| Commercial kitchen sink | 1 | nr | 1200 | 1200
0
| Services Equipment |  |  |  | 0
0
| Dishwasher | 1 | item | 1500 | 1500
| Water Installations |  |  |  | 0
0
| Water installation complete; primary and secondary distribution | 10400 | m2 | 25 | 260000
| Water installation to kitchen | 1 | item | 5000 | 5000
0
| Disposal installation |  |  |  | 0
0
| Rainwater installation | 10400 | m2 | 5 | 52000
| Soil and waste installations | 10400 | m2 | 15 | 156000
| Drainage to basement | 410 | m2 | 20 | 8200
0
| Heat source |  |  |  | 0
0
| CHP Plant Allowance | 1 | item | 260000 | 260000
| Water source heat pump | 1 | item | 156000 | 156000
0
| Space heating and ventilation installations |  |  |  | 0
0
| Underfloor Heating System Installation - perimeter trench Installation | 10400 | m2 | 55 | 572000 |  |  | 10400 | m2 | 27.5 | 286000
| Ventilation to plant room and basement | 1 | item | 42500 | 42500
| Heat recovery air handling plant | 1 | item | 156000 | 156000
| Air conditioning installation | 10400 | m2 | 26 | 270400
| Allowance for heat pump chillers | 1 | item | 130000 | 130000
0
| Electrical installations |  |  |  | 0
0
| To include all lighting and power requirements; including distribution; fittings; sockets; earthing and bonding | 10400 | m2 | 125 | 1300000
| Allowance for PV Panels | 1 | item | 143000 | 143000
| Substation | 1 | item | 100000 | 100000
0
| Lift installation |  |  |  | 0
| Lift; electric traction lift with centrally opening doors and; floor and automated audio indictor | 4 | nr | 65000 | 260000
0
| Protective installations |  |  |  | 0
0
| Allowance for AOVs, smoke alarms, fire alarms, emergency communication systems, fire telephones and disabled refuge alarm item, etc | 10400 | m2 | 20 | 208000
| Lightning protection | 172 | m2 | 25 | 4300
| Allowance for sprinkler system | 10400 | m2 | 15 | 156000
0
| Communication installations |  |  |  | 0
0
| Data/AV Installations | 10400 | item | 30 | 312000 |  |  | 10400 | m2 | 30 | 312000
| Installation of BMS system | 10400 | m2 | 28 | 291200 |  |  | 10400 | m2 | 28 | 291200
| CCTV recognition | 1 | item | 20000 | 20000 |  |  | 1 | item | 20000 | 20000
| Intruder detection system | 1 | item | 33788 | 33788 |  |  | 1 | item | 33788 | 33788
| Special installations |  |  |  | 0 | 4899088
0
| Builders work in connection | 3 | % | 4899088 | 146972.64 | [5 empty] | 28289.64
| Testing & Commissioning | 5 | % | 5046060.64 | 252303.032 | [5 empty] | 47149.4
| M&E Subcontract Preliminaries | 8 | % | 5298363.672 | 423869.0938 | [5 empty] | 75439.04
0
0
| External Works |  |  |  | 0
| Priced elsewhere |  |  |  | 0
0
| Preliminaries |  |  |  | 0
| @ | 14 | % | 18232535.4118 | 2552554.9577 | [5 empty] | 238254.2512 | 298200
0
| Allowance for Design Fees |  |  |  | 0
| @ | 9.575 | % | 20785090.3695 | 1990172.4029
[5 empty] | 0 | [5 empty] | 194007.0331 | 242820
| Overheads & Profit |  |  |  | 0
| @ | 7 | % | 22775262.7724 | 1594268.3941 | [5 empty] | 149385.4155 | 186971.4
0
0
0
|  |  |  | Sub-Total | 24369531.1664 |  | #DIV/0! |  |  |  | 2283462.7798 | 2857991.4
|  |  |  | Add contingency of 5% | 1218476.5583 | [5 empty] | 114173.139 | 142899.57
|  |  |  | Sub-Total | 25588007.7248 |  | #DIV/0! |  |  |  | 2397635.9188 | 3000890.97
|  |  |  | Add allowance for inflation of 10.2% (Based on BCIS) - excl | 0 | [5 empty] | 0 | 0
|  |  |  | Total | 25588007.7248 | 3029.2421 |  |  |  |  | 2397635.9188 | 3000890.97
|  |  |  | BCE | 7600000
|  |  |  | Diff | -16769531.1664
Assumptions
1 | External wall construction
2 | Internal wall construction (party walls) |  |  |  | 17823170
3 | Internal wall partitions
4 | Cycle storage capacity
5 | Storey height @ 3m and floor to ceiling @ 2.4m
6 | Entrance glazed wall height @ 2.5m
7 | Balcony terrace window heights @ 3m
8 | Internal finishes based on percentage upllift of 1B2P layout shown
9 | Apartment Internal doors based on habitable rooms plus bathrooms and cupboards plus en suite bathroom doors and cleaner cupboard doors and cleaner cupboard doors
10 | Tiled walls to bathrooms based on 40% of wall area
11 | No floor or ceiling finish allowed for creche or plant room
12 | Windows assumed @ 30% of external walls